[image: image2.jpg]Bwrdd lechyd Prifysgol
Betsi Cadwaladr
University Health Board








	Ein cyf / Our ref: 373/22/FOI 


	Dyddiad / Date: 17th November 2022 


Further to your request for information dated 31st October 2022, I am pleased to provide the following response. 
Your request and our response:
Please could you send us a copy of your plans setting out the Health Board's decarbonisation strategy in reference to the NHS Wales decarbonisation strategic delivery plan published in March?

Please find embedded below Betsi Cadwaladr University Health Board’s (BCUHB) Decarbonisation Plan. Please note that any information that is personal has been redacted under Section 40 – Personal Information of the Freedom of Information Act.

[image: image1.emf]CR_NZO_BCUHB_De carbonisation-plan-2022-24_v6(f)_220706_redacted (1).pdf



We welcome correspondence through the medium of Welsh

Rydym yn croesawu gohebiaeth drwy gyfrwng y Gymraeg


_1730204673.pdf


 


 


BETSI CADWALADR UNIVERSITY HEALTH BOARD 


Decarbonisation 
Action Plan 
Final v6.0 


July 2022 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


 


 


About the report 


In response to requirements set out in the NHS Wales Decarbonisation Strategic Delivery Plan, this initial 


Decarbonisation Action Plan has been developed by the Carbon Trust on behalf of Betsi Cadwaladr 


University Health Board (BCUHB). It sets the strategic direction of travel for the next five years and 


summarises the deliverable decarbonisation actions that will be implemented over the next two years 


from March 2022. The Action Plan addresses carbon emissions across all greenhouse gas (GHG) 


emissions scopes, with a specific focus on the emissions associated with construction and estate 


refurbishment. 


Acknowledgments 


The Carbon Trust developed this Action Plan based on an analysis of data provided by BCUHB, 


observations made during site visits, and information gathered during targeted engagement with key 


functions across the Health Board (Estates, Finance, Procurement, Transport, Clinical).   


The Carbon Trust would like to thank everyone that has contributed their time and expertise during the 


preparation and completion of this report. A list of those who have helped contribute and shape this 


document can be found in the Appendices. 


 


Who we are 


We are a trusted, expert guide to Net Zero, bringing purpose led, vital expertise from the climate change 


frontline. We have been pioneering decarbonisation for more than 20 years for businesses, 


governments, and organisations around the world. 


We draw on the experience of over 300 experts internationally, accelerating progress and providing 


solutions to this existential crisis. We have supported over 3,000 organisations in 50 countries with their 


climate action planning, collaborating with 150+ partners in setting science-based targets, and 


supporting cities across 5 continents on the journey to Net Zero. 


 


 


 


 


 


 


 


 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


 


 


 


 


 


 


 


 


 


Authors: 


Reviewers: 


 


 


The Carbon Trust’s mission is to  
accelerate the move to a decarbonised future. 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


 


1 


Contents 


 


Executive Summary ............................................................................................................ 6 


1. Context ............................................................................................................................ 9 


2. BCUHB Carbon Footprint ............................................................................................. 11 


3. BCUHB Decarbonisation Pathway ............................................................................... 15 


4. BCUHB Strategic Direction 2022-26 ............................................................................. 20 


5. Decarbonisation Action Plan 2022-24 .......................................................................... 36 


Carbon Management .................................................................................................38 


Buildings ...................................................................................................................40 


Transport ...................................................................................................................44 


Procurement ..............................................................................................................46 


Estate Planning and Land Use .................................................................................48 


Approach to Healthcare ............................................................................................49 


6. BCUHB Action Plan 2024-26 ......................................................................................... 53 


7. Implementation Next Steps .......................................................................................... 56 


8. Key Next Steps .............................................................................................................. 63 


9. Appendices .................................................................................................................... 64 


 


 


 


  


 


 


 


 


 


 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


 


2 


Tables 


Table 1: Savings identified from all quantified actions .................................................. 16 


Table 2: Savings identified from all quantifiable building focussed actions ................ 16 


Table 3: Savings identified from all quantifiable procurement focussed actions ........ 17 


Table 4: Savings identified from all quantifiable transport related actions .................. 18 


Table 5: Summary of 2022-24 Action Plan ....................................................................... 36 


Table 6: Savings and costs identified through audits of acute sites ............................ 37 


Table 7: Summary of key actions – Ysbyty Gwynedd .................................................... 65 


Table 8: Summary of Key Actions - Glan Clwyd ............................................................. 66 


Table 9: Summary of Key Actions - Wrexham Maelor Hospital ..................................... 67 


Table 10: Financial Modelling of LED Lighting Upgrades .............................................. 68 


Table 11: Financial Modelling for Loft Insulation ............................................................ 69 


Table 12: Financial Modelling of Solar PV Installations ................................................. 69 


Table 13: Financial Modelling of Pipework Insulation .................................................... 70 


Table 14: Financial Modelling of lift upgrades ................................................................ 70 


Table 15: Financial Modelling of AHU upgrades ............................................................. 70 


Table 13: Financial Modelling of LED Lighting Upgrades .............................................. 71 


Table 14: Financial Modelling of Solar PV Installations ................................................. 71 


Table 15: Financial Modelling of LED Lighting Upgrades .............................................. 72 


Table 16: Financial Modelling of Loft Insulation Upgrades ............................................ 72 


Table 17: Financial Modelling of Solar PV Installations ................................................. 73 


Table 18: Heat pump figures for non-acute sites ............................................................ 74 


Table 19: Heat study estimated costs .............................................................................. 75 


Table 19: Estimated annual savings of TRV rollout across acute sites ........................ 75 


Table 20: Transport actions ............................................................................................. 76 


Table 21: EV charging details ........................................................................................... 76 


Table 22: Annual savings from carbon management related actions ........................... 77 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


 


3 


Figures 


Figure 1: Summary of Welsh Government decarbonisation policy context ................... 9 


Figure 2: Breakdown of BCUHB’s footprint by scope .................................................... 12 


Figure 3: Breakdown of BCUHB’s and NHS Wales’s footprint by sector ...................... 12 


Figure 4: Breakdown of BCUHB’s emissions from energy and utility use in buildings13 


Figure 5: Breakdown of BCUHB’s emissions from transportation related sources ..... 14 


Figure 6: Breakdown of BCUHB’s emissions from procurement by sub-sector .......... 14 


Figure 7: Decarbonisation pathways for BCUHB ............................................................ 15 


Figure 8: Decarbonisation pathways for building related emissions ............................ 16 


Figure 9: Decarbonisation pathways for procurement related emissions .................... 17 


Figure 10: Decarbonisation pathways for transport related emissions ........................ 18 


Figure 11: Decarbonisation Programme Board governance structure ......................... 57 


Figure 12: Acute Hospital Sites ........................................................................................ 64 



https://carbontrust.sharepoint.com/sites/Knowledge/Projects/BCUHB-NetZero-Sep21/Project%20Documents/4.%20Reports/CR_NZO_BCUHB_Decarbonisation-plan-2021-25_v2(d)_220426.docx#_Toc101881387

https://carbontrust.sharepoint.com/sites/Knowledge/Projects/BCUHB-NetZero-Sep21/Project%20Documents/4.%20Reports/CR_NZO_BCUHB_Decarbonisation-plan-2021-25_v2(d)_220426.docx#_Toc101881398





BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


4 


Abbreviations 


 


 


  


DAP Decarbonisation Action Plan 


BCUHB Betsi Cadwaladr University Health Board 


NWSSP NHS Wales Shared Services Partnership 


WGES Welsh Government Energy Service 


GHG Greenhouse gas 


GWP Global warming potential 


CO2e Carbon dioxide equivalent 


tCO2e Tons of Carbon Dioxide equivalent 


DEC Display Energy Certificate 


ASHP Air Source Heat Pump 


(B)EV (Battery) Electric Vehicle 


ULEV Ultra-Low Emission Vehicle 


BMS Building Management System 


UFH Underfloor Heating  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


5 


Glossary of Terms 


Carbon 


footprint 


A carbon footprint measures the total greenhouse gas emissions caused directly 
and indirectly by a person, organisation, service, or product, and is calculated by 
multiplying activity data with an associated emissions factor. The accuracy of a 
carbon footprint is largely dependent on the quality of activity data available. 
Primary data related to the specific activity being footprinted (e.g., electricity 
meter readings) is preferred, but benchmarks and/or proxies can provide an 
estimation where primary activity data is not available. Emission factors define 
the carbon intensity of an activity, and the most common emission factors are 
updated and published annually by the UK Government. 


Reporting 


framework 


and emission 


scopes 


The greenhouse gas (GHG) protocol is an established and internationally 
recognised methodology for carbon reporting. In the protocol, emissions are 
categorised into three scopes: 


• Scope 1 – Direct GHG emissions (i.e., occur at the point-of-use) from 
sources that are owned or controlled by the reporting organisation. For 
example, this would include emissions from the operation of a petrol 
vehicle owned/controlled by the reporting company, as emissions are 
directly released from the vehicle exhaust.  


• Scope 2 – Indirect GHG emissions (i.e., do not occur at the point-of-use) 
from energy consumed by the reporting organisation’s owned/controlled 
assets. This includes electricity consumption, where the emissions 
associated with the consumption do not occur at the point-of-use but 
have been produced in the initial generation of the consumed electricity 
(e.g., from the burning of natural gas at a power station).  


• Scope 3 – All other indirect emissions that occur in the reporting 
company’s value chain. For example, the commission of a third party to 
provide social care services on a council’s behalf.  


 


Carbon 


dioxide 


equivalent 


GHG’s contribute to global warming by ‘trapping’ in heat that would otherwise 
escape to space. Carbon dioxide is the most widely produced GHG but there are 
many others. Some GHGs are more potent than others (for a set amount) and 
trap more heat in the Earth’s atmosphere. The potency of GHGs is defined by their 
global warming potential (GWP). Carbon footprints are measured in carbon 
dioxide equivalent (CO2e), combining the impact of different greenhouse gases 
into one CO2, equivalent figure based on their global warming potential. The 
measured footprint therefore includes the impact of the seven most impactful 
greenhouse gases, not just carbon dioxide.  


 


 


 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


6 


Executive Summary 


 


• This Decarbonisation Action Plan sets the strategic direction of travel for Betsi Cadwaladr 


University Health Board over the next five years and identifies deliverable actions for the two 


years from March 2022. Successful implementation of this Decarbonisation Action Plan will 


require a step-change in decarbonisation activity across BCUHB. 


• It addresses carbon emissions across all GHG emissions scopes, including those from 


buildings and land use, transport, waste, water, procurement of goods and services and wider 


clinical healthcare delivery. In addition, it provides a specific focus on the emissions associated 


with construction and refurbishment. 


• The table below sets out a summary of the impact (where quantifiable) of the decarbonisation 


actions that will be implemented by BCUHB from March 2022 to March 2024 to align with the 


NHS Wales Decarbonisation Strategic Delivery Plan (SDP). As shown, it has not been possible 


to quantify every action in the 2022-24 Decarbonisation Action Plan. A full breakdown of these 


decarbonisation actions can be found in Section 4 and details of how actions have been 


quantified are in Appendix 2. 


• The opportunities identified should all be implemented within the lifetime of this action plan. 


They needn’t be prioritised by return on investment or similar metric, but should be looked at 


from a decarbonisation and enabling point of view. 


• It is recognised that it will not be practical or possible for BCUHB to stop all carbon emissions 


entirely from its operations. This will be the same for all Health Boards and Trusts across 


Wales. BCUHB must strive to reduce its emissions as far as possible before using offsetting 


 Estimated Annual Savings 
Est. Capital 


Costs 2022-24 


(£) 


Est. 10 year 


Carbon Savings  


(tCO₂e) 


Area £ 
tCO₂e  


(2024) 
Activity (unit) 


Carbon Management £528,615 1,297 6,232,124 kWh - 9,586 


Buildings £582,295 3,565 17,092,515 kWh £8.6m 28,161 


Transport £305,895 741 
248,906 Litres 


- 406922 kWh 
£1.1m 5,296 


Procurement - 14,366 - £100k 94,342 


Estate Planning & 
Land Use 


- - - - - 


Approach to 
Healthcare 


- - - - - 


Total £1,416,805 19,969 - £9.75m 138,015 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


7 


measures as the final step to align with Welsh Government’s Net Zero public sector by 2030 


ambition. 


• This calculation is called the “Gap to Target”, which is the gap that will require offsetting 


measures. A gap to target has been estimated in 2025 as 55,467 tCO2e. This represents 


BCUHB’s estimated residual carbon emissions in 2025, plus the initiatives that were 


unquantifiable at this point in terms of carbon savings. BCUHB will need to offset the remaining 


carbon emissions using the correct and approved methods. The graph below gives a visual 


representation of these savings as BCUHB’s ‘Decarbonisation Pathway’ towards 2025. A 


business-as-usual (BAU), Net Zero 2030 pathway and the NHS Wales Strategic Delivery Plan 


target have also been included for context. 


 


 


• It should be noted that under a business-as-usual case, both grid decarbonisation and a 


decarbonisation of the supply chain are taken into account. As a result of these factors, the 


total footprint is expected to decrease by 11% between 2019 and 2025 under the business-as-


usual case. 


• The ’initiatives’ case takes into account both the reductions of the business-as-usual case as 


well as the potential carbon savings resulting from the actions developed within this plan. This 


decarbonisation plan focusses on the near future (2022-24), meaning the actions identified are 


likely to be low hanging fruit that can be quickly implemented. A result of this is that the carbon 


savings from initiatives levels off after 2024, leaving a significant gap to target; this will be 


addressed in future decarbonisation plans with the development of more initiatives in future 


years. Furthermore, many of the actions outlined within this report suggest the implementation 


of feasibility studies, therefore, the largest reductions in emissions are likely to be seen post 


2025. 


0


20,000


40,000


60,000


80,000


100,000


120,000


140,000


160,000


180,000


2019 2020 2021 2022 2023 2024 2025


E
m


is
s


io
n


s
 (


tC
O


2
e


)


BAU Emissions Initiatives SDP Target Net Zero 2030







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


8 


• A result of the action plan focussing on the time period of 2022-24 is that many of the identified 


opportunities centre around buildings. However, the largest reductions arise from actions taken 


within the purchase of goods and services – as this is greatest proportion of the overall carbon 


footprint. 


• It should be noted too that the vast majority of actions identified within this plan cannot be 


quantified but are likely to either support the reduction of emissions of contribute to emission 


reductions in the future. These measures are not reflected in the graphs and tables above but 


will underpin a lot of the work that will need to be carried out by BCUHB in order to meet its 2030 


target. 


• Although these initiatives, if implemented, are likely to result in strong carbon reductions, 


especially when measured against the SDP target, there is still a long way to go in achieving net 


zero emissions by 2030. Future decarbonisation plans will need to increase the level of 


ambition and look to reduce emissions even further and faster. 


• The recently developed decarbonisation programme board will drive the implementation of the 


decarbonisation plan. The decarbonisation programme board and its members will engage 


others across BCUHB; spanning estates and facilities, planning, transport, procurement, clinical, 


and wider stakeholder groups, to ensure that the actions within this Decarbonisation Action Plan 


are taken forward and implemented within the stated timeframe. 


• Funding this Decarbonisation Action Plan will require low carbon alignment in how we utilise 


existing funding for healthcare delivery, procurement, and capital projects. Based on specific 


additional decarbonisation actions and measures shown, the additional funding required is 


estimated as £10m. 


• One of the key routes for delivery for the built estate, energy efficiency, and renewable energy 


programmes will be through an energy performance contract, BCUHB are currently in the 


process of signing up for Re:fit Cymru. 


• Implementing the Decarbonisation Action Plan will require additional internal resource and 


capacity, as well as expert contracted support. 


• This Decarbonisation Action Plan should be considered a working document by BCUHB, where 


costs and funding can be updated as certain actions and policy decisions become clearer. 


 


 


 


 


 


 


 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


9 


1. Context 


1.1. Welsh Government and NHS Wales ambitions for public sector 
decarbonisation 


• The Welsh Government declared a Climate Emergency in 2019 supported by Members of the 


Senedd and committed to achieving a carbon neutral public sector by 2030. 


• The NHS Wales Decarbonisation Strategic Delivery Plan was published in March 2021 and 


demonstrates how NHS Wales can play its part in the recovery from Covid 19 and its 


commitment to the Wellbeing of Future Generations Act 2015 which directs public bodies to 


consider long term persistent problems such as poverty, health inequalities, and climate 


change. 


• The Plan responds to the Climate Emergency declaration and recognises that the NHS has a 


critical role to play in contributing towards this target, as the largest public sector organisation 


in Wales. 


• It calls for swift action across all Health Boards over the next five years to ensure the targets are 


adhered to. This will rely on minimising waste, increasing efficiencies, investing heavily in 


decarbonisation of buildings and vehicles, and addressing carbon emissions in the supply chain 


It recognises that low carbon must be core to decision making, and embedded into everyday 


processes so that it becomes integral to the decisions that we make and calls for Health Boards 


to lead by example. 


• Specifically, all Health Boards and Trusts are required to develop Decarbonisation ‘Action Plans’, 


to be regularly updated and committed to within Integrated Medium-Term Plans on a 2 yearly 


basis In addition, all new build developments and major refurbishments will need to be designed 


and accredited to a net zero framework. 


• The wider Welsh Government policy context is supported by legislation, strategy, and ministerial 


ambitions: 


 


Figure 1: Summary of Welsh Government decarbonisation policy context 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


10 


1.2. Betsi Cadwaladr University Health Board 


• Betsi Cadwaladr University Health Board (BCUHB) provides healthcare services to a total 


population of around 694,000 throughout North Wales. It provides Acute, Primary, Community, 


Mental Health and Learning Disabilities services through the operation of three district general 


hospitals (covering West, Central, and East); twenty-two other acute and community hospitals 


and over ninety health centres, clinics and smaller units. 


• As lead authors of the NHS Decarbonisation Strategic Delivery Plan, BCUHB approached the 


Carbon Trust to provide support in the development of the Health Board’s first Decarbonisation 


Action Plan. 


• Following discussions with BCUHB, it was agreed that the Decarbonisation Action Plan needed 


to set the strategic direction of travel for the next five years and identify deliverable actions for 


the two years from March 2022. 


• The Action Plan addresses carbon emissions across all GHG emissions scopes, including those 


from buildings, transport, waste, water and procurement of goods and services. In addition, it 


provides a specific focus on the emissions associated with construction and refurbishment. 


• Targeted engagement with key functions across the Health Board (Finance, Procurement, 


Transport, Clinical etc.) were a critical aspect of this work, to ensure buy in, build momentum 


and help to embed decarbonisation into decision making and Business as usual. 


This BCUHB Decarbonisation Action Plan, will align with the following policies and strategies within 


the Health Board: 


  


 


Betsi Cadwaladr University 


Health Board Annual Plan 


2021/2022 


Betsi Cadwaladr University Health 


Board Workforce strategy 2019/22 


Betsi Cadwaladr University Health Board 


Living Healthier, Staying Well three year plan 


for north Wales 


 


  



https://view.officeapps.live.com/op/view.aspx?src=https%3A%2F%2Fbcuhb.nhs.wales%2Fabout-us%2Fgovernance-and-assurance%2Fannual-operational-plan%2Fannual-operational-plan1%2Fannual-plan-2021-22-docx%2F&wdOrigin=BROWSELINK

https://view.officeapps.live.com/op/view.aspx?src=https%3A%2F%2Fbcuhb.nhs.wales%2Fabout-us%2Fgovernance-and-assurance%2Fannual-operational-plan%2Fannual-operational-plan1%2Fannual-plan-2021-22-docx%2F&wdOrigin=BROWSELINK

https://bcuhb.nhs.wales/about-us/our-plans/our-plans/workforce-strategy/

https://bcuhb.nhs.wales/about-us/our-plans/our-plans/bcuhb-plan/





BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


11 


2. BCUHB Carbon Footprint 


2.1. Carbon footprint scope 


BCUHB’s carbon footprint is calculated annually in accordance with the Greenhouse Gas (GHG) Protocol 


– the most widely used and accepted methodology for GHG accounting. The GHG Protocol categorises 


emissions into three scopes: 


a) Scope 1: All direct GHG emissions (i.e., ‘on-site’ emissions, such as from a gas boiler or 


tailpipe emissions from a vehicle). 


b) Scope 2: Indirect GHG emissions from consumption of purchased electricity, heat or 


steam.  


c) Scope 3: All other indirect emissions, such as the extraction and production of 


purchased materials and fuels, transport-related activities in vehicles not owned or 


controlled by the reporting entity, outsourced activities, waste disposal, etc. 


Where direct and indirect emissions are defined according to operational control, such that: 


• Direct GHG emissions are emissions from sources that are operationally controlled by the 


Health Board. 


• Indirect GHG emissions are emissions that are a consequence of the activities of the reporting 


entity, but occur at sources controlled by another entity (for example, a power plant that 


generates the electricity consumed by BCUHB, or a wastewater treatment site that processes 


BCUHB’s wastewater).  


2.2. Carbon footprint analysis 


Within the NHS Wales decarbonisation strategic delivery plan, a carbon footprint was calculated that 


covered all emissions sources across all health boards. The initial study found that the carbon footprint 


for NHS Wales to be approximately 1 million tonnes of CO2e for the year 2018/19. This year has been 


set as the baseline from which targets are projected and progress measured. 


For Betsi Cadwaladr University Health Board the total emissions measured 175,847 tCO2e, this is 16.7% 


of the total NHS Wales footprint and positions BCUHB as the health board with the second largest 


proportion of total emissions. 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


12 


 


Figure 2: Breakdown of BCUHB’s footprint by scope 


The overwhelming majority of emissions arise from the indirect, upstream value chain sources – scope 


3. This compares to NHS Wales where 80% of emissions arise from scope 3 sources. 12% of emissions 


are scope 1, from the direct creation or release of greenhouse gases, this is the same proportion as for 


the entirety of NHS Wales. 11% of emissions arise from scope 2 sources, namely those associated with 


the consumption of electricity, this compares to 8% for NHS Wales. 


 


Figure 3: Breakdown of BCUHB’s and NHS Wales’s footprint by sector 


The footprint can be broken down by sector, which highlights the emissions sources in a more relatable 


manner and in a way that aligns with the decarbonisation activity streams of the NHS Wales 


Decarbonisation Strategic Delivery Plan. This shows that for BCUHB the greatest emitting sectors are 


procurement (53%), building use (27%), and transport (19%); this compares to NHS Wales as a whole 


with 62%, 21% and 17% for the same sectors respectively. The following sections examine each sector 


in more detail. 


 


22,156 
12%


18,807 
11%


134,885 
77%


Scope 1 Scope 2 Scope 3


48,229 


210,436 


33,632 


167,191 


93,986 


623,750 


0% 10% 20% 30% 40% 50% 60% 70% 80% 90% 100%


Betsi Cadwaladr


NHS Wales


Building Use Transport Procurement


175,847 
tCO2e 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


13 


2.2.1. Building use 


 


Figure 4: Breakdown of BCUHB’s emissions from energy and utility use in buildings 


Emissions from buildings arise from energy consumed within acute sites and community hospitals, 


private GPs and primary care units are not included within the scope of this footprint. The vast majority 


of emissions from activities associated with building use arise from the actual energy consumed (85%). 


The energy consumed can be broken down into natural gas, electricity, and oil consumption. Of these 


fuels natural gas consumption produces the most carbon emissions, this will be predominantly for 


space heating and hot water services. Emissions from the consumption of electricity, although currently 


high, will likely decrease year on year as a result of UK grid decarbonisation. Upstream energy counts 


towards a significant proportion of building related emissions, this emissions source considers the 


emissions associated with the extraction, refining, transport and distribution of fossil fuels used by 


BCUHB and by power stations generating electricity; transmission losses associated with electricity 


consumption are also taken into account. Emissions associated with the supply of water, treatment of 


wastewater, and waste treatment account for less than 2% of building related emissions. 


2.2.2. Transport 


Transport related emissions form the smallest sectoral proportion of BCUHB’s footprint. However, given 


the dependence of fossil fuels for powering vehicles, transport related emissions are unlikely to 


decrease over time unless action is taken. 


 


Oil, 2%


Natural Gas, 54%


Electricity, 29%


Renewables, 0%


Water, 1%


Upstream 
Energy, 14%


Waste, 0%


Energy
85%


1,293 
4%


575 
2%


24,381 
70%


8,416 
24%


-
0%


Fleet


Business Travel


Staff Commute


Patient / Visitors


Air Ambulance







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


14 


Figure 5: Breakdown of BCUHB’s emissions from transportation related sources 


The vast majority of transport related emissions are from indirect sources, predominantly staff 


commuting and patient/visitor travel – together accounting for 94% of transport emissions. Although 


difficult to decarbonise due to lack of control of direct control of these emissions, BCUHB can 


nonetheless influence and encourage staff, patients, and visitors to travel more sustainably. Emissions 


from BCUHB’s owned fleet and business travel contribute the remaining 6% to the transport footprint. 


2.2.3. Procurement 


Emissions associated with purchased goods and services will typically always form the largest part of 


any organisation’s carbon footprint. The emissions covered within purchased goods and services relate 


to all upstream activities, including the production, transport and distribution and use phase of a product 


or service. The emissions are calculated by analysing the spend through the procurement department at 


BCUHB, the expenditure on each good or service is classed by a particular sub-sector for which the 


carbon intensity is known. Total emissions from procurement related spend equal 101,496 tCO2e. 


 


Figure 6: Breakdown of BCUHB’s emissions from procurement by sub-sector 


Four categories account for over 80% of all procurement related emissions, these are: 


• Drugs – 29,892 tCO2e – 29% 


• Continuing Healthcare & Funded Nursing Care – 27,688 tCO2e – 27% 


• Medical Equipment & Supplies – 19,907 tCO2e – 20% 


• Other – 4,922 tCO2e – 5% 


The remaining 24 categories account for 19% of the total procurement related emissions.  


29,282 


27,688 


19,907 


4,922 


 -  5,000  10,000  15,000  20,000  25,000  30,000  35,000


Drugs


Continuing Healthcare & Funded Nursing Care


Medical Equipment & Supplies


Other


Moveable Plant & Other Transport


Lab Equip & Other Clinical Services / Supplies


Building & Engineering Equip.


Furniture, Office & Computer Equip.


Other Misc. Service Contracts


Food Provisions & Catering


Pharmaceutical Services


Printing & Stationary


Electronic Equip. Repair and Maintenance


Secondary Healthcare


Telephone apparatus


External Contract Staff & Consultancy


Computer related services, including facilities…


Postal services


Bedding and linen


Uniforms


Advertising


Ophthalmic Implants


Purchased Healthcare Services


Contract Hotel Services


Laundry Equip. & Materials


Environmental control equipment


Cleaning Equip.







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


15 


3. BCUHB Decarbonisation Pathway 


It is recognised that it will not be practical or possible for BCUHB to stop all carbon emissions entirely 


from its operations.  This will be the same for all Health Boards and Trusts across Wales. BCUHB must 


strive to reduce its emissions as far as possible before using offsetting measures as the final step to 


align with Welsh Government’s Net Zero public sector by 2030 ambition.  


This calculation is called the “Gap to Target”, which is the gap that will require offsetting measures. A 


gap to target has been estimated in 2025 as 55,467 tCO2e. This represents BCUHB’s estimated residual 


carbon emissions in 2025, plus the initiatives that were unquantifiable at this point in terms of indicative 


carbon savings. BCUHB will need to offset the remaining carbon emissions using the correct and 


approved methods. The graph below gives a visual representation of these savings as BCUHB’s 


‘Decarbonisation Pathway’ towards 2025. A business-as-usual (BAU), Net Zero 2030 pathway and the 


NHS Wales Strategic Delivery Plan target have also been included for context.  


 


 


Figure 7: Decarbonisation pathways for BCUHB 


 


Year Emissions (tCO2e) % Reduction from 18/19 Cumulative savings from 


initiatives (tCO2e)* 


2019 175,847 - - 


2024 135,149 22% -40,664 


2025 133,781 22% -60,103 


*Excludes impact of BAU 


0


20,000


40,000


60,000


80,000


100,000


120,000


140,000


160,000


180,000


2019 2020 2021 2022 2023 2024 2025


E
m


is
s


io
n


s
 (


tC
O


2
e


)


BAU Emissions Initiatives SDP Target Net Zero 2030


Action Plan Period 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


16 


Table 1: Savings identified from all quantified actions 


3.1. Buildings 


 


Figure 8: Decarbonisation pathways for building related emissions 


 


Year Emissions (tCO2e) % Reduction from 18/19 Cumulative savings from 


initiatives (tCO2e)* 


2019 48,229 - - 


2024 30,846 24% 7,148 


2025 30,335 25% 10,697 


*Excludes impact of BAU 


Table 2: Savings identified from all quantifiable building focussed actions 


0


5,000


10,000


15,000


20,000


25,000


30,000


35,000


40,000


45,000


2019 2020 2021 2022 2023 2024 2025


E
m


is
s


io
n


s
 (


tC
O


2
e


)


BAU Emissions Initiatives SDP Target Net Zero 2030


Action Plan Period 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


17 


3.2. Procurement 


 


Figure 9: Decarbonisation pathways for procurement related emissions 


 


Year Emissions (tCO2e) % Reduction from 18/19 Cumulative savings from 


initiatives (tCO2e)* 


2019 93,986 - - 


2024 68,990 29% 29,401 


2025 67,660 30% 43,287 


*Excludes impact of BAU 


Table 3: Savings identified from all quantifiable procurement focussed actions 


0


10,000


20,000


30,000


40,000


50,000


60,000


70,000


80,000


90,000


100,000


2019 2020 2021 2022 2023 2024 2025


E
m


is
s


io
n


s
 (


tC
O


2
e


)


BAU Emissions Initiatives SDP Target Net Zero 2030


Action Plan Period 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


18 


3.3. Transport 


 


Figure 10: Decarbonisation pathways for transport related emissions 


 


Year Emissions (tCO2e) % Reduction from 18/19 Cumulative savings from 


initiatives (tCO2e)* 


2019 33,632 - - 


2024 34% 1,427 1,481 


2025 32% 1,456 2,222 


*Excludes impact of BAU 


Table 4: Savings identified from all quantifiable transport related actions 


 


The above charts and tables display the decarbonisation pathways under a business-as-usual case, the 


savings from the initiatives suggested within this action plan, as well as the target lines based on the 


NHS Wales Strategic Delivery Plan and Net Zero 2030. 


It should be noted that under a business-as-usual case, grid decarbonisation, decarbonisation of the 


supply chain and planned floor area expansions are taken into account. The UK has set targets to 


achieve a zero carbon electricity grid by 2035, this means replacing gas and coal power stations with 


nuclear and renewables. As such the carbon emissions associated with the consumption of electricity is 


projected to decrease over time. Similarly, the carbon intensity of the supply chain is expected to 


decrease over time due to grid decarbonisation and efforts made by companies to reduce carbon 


emissions. As a result of these factors, the total footprint is expected to decrease by 11% between 2019 


and 2025 under the business-as-usual case. 


The ’initiatives’ case takes into account both the reductions of the business-as-usual case as well as the 


potential carbon savings resulting from the actions developed within this plan. This action plan 


0


500


1,000


1,500


2,000


2,500


2019 2020 2021 2022 2023 2024 2025


E
m


is
s


io
n


s
 (


tC
O


2
e


)


BAU Emissions Initiatives SDP Target Net Zero 2030


Action Plan Period 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


19 


focusses on the near future (2022-24), meaning the actions identified are likely to be low hanging fruit 


that can be quickly implemented. A result of this is that the carbon savings from initiatives levels off 


after 2024, leaving a significant gap to target; this will be addressed in future action plans with the 


development of more initiatives in future years. Furthermore, many of the actions outlined within this 


report suggest the implementation of feasibility studies, therefore, the largest reductions in emissions 


are likely to be seen post 2025. 


A result of the action plan focussing on the time period of 2022-24 is that many of the identified 


opportunities centre around buildings. However, the largest reductions arise from actions taken within 


the purchase of goods and services – as this is greatest proportion of the overall carbon footprint. 


It should be noted too that the vast majority of actions identified within this plan cannot be quantified 


but are likely to either support the reduction of emissions of contribute to emission reductions in the 


future. These measures are not reflected in the graphs and tables above but will underpin a lot of the 


work that will need to be carried out by BCUHB in order to meet its 2030 target. 


Although these initiatives, if implemented, are likely to result in strong carbon reductions, especially 


when measured against the strategic delivery plan target, there is still a long way to go in achieving net 


zero emissions by 2030. Future action plans will need to increase the level of ambition and look to 


reduce emissions even further and faster.  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


20 


4. BCUHB Strategic Direction 2022-26 


Within the NHS Wales Decarbonisation Strategic Delivery Plan (DSPD) decarbonisation of NHS 


Wales has been structured into six main activity streams:  


• Carbon Management 


• Buildings 


• Transport 


• Procurement 


• Estate Planning and Land Use 


• Approach to Healthcare 


Within the Technical Appendices of the DSDP initiatives (decarbonisation activities or projects) are 


listed for each activity stream. The structure above has been followed in this section of the report and 


those initiatives for which responsibility lies with Health Boards & Trusts in the DSDP are set out 


alongside commentary on how these apply specifically to BCUHB. The initiatives included within the 


activity streams will often provide carbon reduction across several footprint categories. 


4.1. Carbon Management 


Initiative 1: Implement best practice carbon management with dedicated roles in place 


to undertake Delivery Plan initiatives. 


Having a clear governance structure will be key to ensuring the successful application of this action 


plan, and the implementation of any decarbonisation initiatives going forward. BCUHB will be required to 


further develop its carbon management structure to ensure that individuals within every team are aware 


of their responsibilities in delivering this action plan. This may require the putting in place of further 


dedicated and appropriately skilled resource within individual teams that relate to the activity streams 


outlined within this delivery action plan. Every action within this delivery plan is assigned to key roles or 


groups, who should take on the responsibility of understanding the requirements and efficiently 


implementing the action. The Welsh Health Environment Forum can also be a key mechanism to support 


best practice carbon management and learning for decarbonisation initiative implementation. 


Initiative 2: Proactively communicate the Climate Emergency to staff and the public with 


the aim of stimulating low carbon behaviours and growing engagement in the 


decarbonisation agenda. 


To ensure successful acceptance of the delivery action plan and engagement with decarbonisation 


initiatives in the future it is essential to effectively communicate the plans, measures, and actions being 


put in place by the health board to both staff and the wider public. Proactive communication of the 


climate emergency with historical, ongoing, and future steps that have, are and will be undertaken to 


address it can increase engagement in reducing carbon emissions and help their ongoing success. This 


communication can effectively support the education and provide learning opportunities for both staff 


and the public, driving future positive change. 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


21 


The health board should aim to further capture the results of carbon reduction opportunities from 


across all departments, develop case studies and communicate these with staff and the public through 


newsletters or other means of engagement. 


Initiative 3: Drive the engagement required for decarbonisation across each 


organisation’s leadership team – Finance, Procurement, Estates, and Capital Project 


teams will engage to develop a focussed and active approach to project 


implementation. 


In the development of this delivery action plan senior staff and team leaders across estates, finance, 


procurement, transport, and clinical departments were engaged through a series of targeted workshops. 


This has laid the foundation for providing an understanding of the climate emergency, current carbon 


impacts and initiated the development of carbon reduction measures which have been captured within 


this delivery action plan. 


Through these workshops it has been clear that the driving force for decarbonisation thus far has been 


from interested individuals within these departments. To ensure engagement across the organisation’s 


leadership team, it will be key to further develop a ‘decarbonisation programme board’ containing senior 


individuals who will have dedicated resource to ensuring the effective delivery of this action plan. There 


should be a minimum of one member of staff per each category of the NHS Wales decarbonisation 


strategy within the decarbonisation programme board. Engagement of the board members with their 


respective teams and departments as well as with senior leadership will ensure an effective governance 


structure is in place to drive forward the health board’s decarbonisation ambitions. 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


22 


4.2. Buildings 


4.2.1. Existing Building Retrofit 


Initiative 4: Progress a transformational energy and water efficiency retrofit programme 


across the estate – every building with a long-term future will have undergone a multi-


technology energy-efficient upgrade by 2030. 


In developing this initial delivery action plan, the Carbon Trust have undertaken energy and carbon audits 


of the three acute hospitals under BCUHB’s control – Glan Clwyd, Ysbyty Gwynedd and Wrexham 


Maelor. These three sites account for over 70% of the scope 1 and 2 building emissions. Due to the size, 


age, energy consumption and carbon footprint of these three sites, they have been the primary focus of 


decarbonisation initiatives within this near-term delivery action plan. The remaining sites (categorised 


as: Community Hospitals, Specialist Hospitals, Health/Treatment Centres, Support Facilities, Non-


Hospital (Patient Facilities) and Disposals) will also offer decarbonisation opportunities, albeit of less 


material impact. Many of the decarbonisation initiatives suggested for the three acute sites will still be 


pertinent to the smaller sites. A fabric first approach should be adopted across the BCUHB estate with a 


particular focus on single glazing upgrades with and increasing levels of insulation, especially at the 


acute site. Details of site audits can be found in Appendix 1 and 2.  


Initiative 5: Fully replace all existing lighting with LED lighting by 2025. 


During the energy and carbon audits of the three acute sites, lighting levels and existing lighting were 


reviewed, with suggestions for upgrades to LEDs quantified within the 2022-24 delivery action plan. 


Further lighting reviews across all sites should be carried out to understand the requirement for number, 


type and lighting controls that would be needed with an LED upgrade. Furthermore, wherever possible 


Estates and Facilities teams should move to upgrade to LED as soon as possible as opposed to 


replacing bulbs at end of life. 


Initiative 6: Complete expert heat studies by the end of 2023 for all acute hospitals to set 


the plan to transition away from fossil fuel heat sources. 


All acute sites reviewed during the energy and carbon audits currently use fossil fuels as their primary 


heat source, in a low carbon future these buildings will need to use a different means to generate heat. 


Given the significant proportion of emissions that arise from heating, it is a matter of urgency to switch 


to low carbon heating alternatives. As such, BCUHB should commission low carbon heat specialists to 


develop a low carbon heat plan for each acute site. 


Initiative 7: Progress low carbon heat generation for all non-acute sites larger than 


1,000m2 by 2030. 


Switching all non-acute sites over 1,000m2 to low carbon heating represents a significant challenge in 


terms of the infrastructure upgrades required within the buildings themselves and the likely high capital 


costs. Significant funding from Welsh and UK governments will be required in order to achieve this. 


However, within the short term, BCUHB can make sure it is prepared for any funding that becomes 


available by commissioning low carbon heating specialists in the short term to evaluate each individual 


site and detail a low carbon heating plan. 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


23 


Initiative 8: No further natural gas CHP plant will be installed – renewable CHP will be 


championed instead. For existing CHP plant, decommissioning will be prioritised over 


investment in major refurbishment of failed CHP from 2025, with the ambition for all 


CHP to be decommissioned by 2030. 


Combined heat and power has offered BCUHB a means to generate low-cost and low carbon heat and 


electricity at two of its three acute sites for many years. However, the rapidly decreasing carbon 


intensity of the UK grid now means that the energy generated from gas-fired CHP is no longer an 


attractive low carbon option. The disparity in the carbon intensity of CHP generated energy versus grid 


electricity is only going to increase as time goes on. Therefore, for BCUHB to achieve its net zero 


targets, no more gas-fired CHP should be installed. 


The CHP units at Glan Clywd and Ysbyty Gwynedd should be subject to a detailed technical review to 


understand when they can be decommissioned and what the alternative options are. Given any 


alternative will likely represent a significant increase in capital and operational costs, it is recommended 


that detailed financial modelling is carried out to ascertain the most financially attractive option. 


Initiative 9: Take an active approach to efficient control of energy in our buildings. All 


buildings will have up-to-date, standardised, and effective building management 


systems (BMS). Dedicated resource to optimise the use of energy by BMS control will 


be put in place by 2023. 


An up-to-date building management system (BMS) can provide extensive controls and high-resolution 


data for a range of building services, thereby granting building managers a significant opportunity to 


better understand the building operations and how to reduce energy consumption. 


Recent and ongoing upgrades at all three acute sites will likely lead to reduced energy consumption and 


carbon emissions. However, it will be important to ensure that all relevant staff have had adequate 


technical training to ensure best practice operations – including data management, set points, 


schedules and timers. 


Infrastructure upgrades in terms of building services and their controls may be required to ensure 


optimisation of all building systems is possible. The BMS system may help to provide an understanding 


of which building systems need to be upgraded and their appropriate sizing. 


Initiative 10: Determine the overall viable potential for onsite renewable energy 


generation at each NHS organisation by 2023. Install half of this potential by 2026, and 


the remainder by 2030. 


BCUHB has worked closely with the Welsh Government Energy Service (WGES) to understand the 


potential for renewable generation, predominantly solar PV. A number of these projects have already 


been installed or are in the design/implementation phase. The remaining projects identified through 


WGES are to be implemented within the lifetime of this delivery action plan. 


 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


24 


4.2.2. New Builds and Major Refurbishment  


Initiative 11: Develop and build low carbon buildings to net zero standard – engage and 


collaborate with NHS partners across the UK on the emerging net zero building 


standard for hospitals and adopt a net zero building accreditation approach which will 


be defined by 2022. 


BCUHB should ensure that its current pipeline of major refurbishments and new developments, in the 


short term (ie. covered within the period of this action plan 2022-2024) should achieve BREEAM 


‘excellent’ and ‘very good’ for new builds and refurbishments respectively. These will include 


developments such as Wrexham Maelor continuity and wider redevelopment programmes; regional 


treatment centres; Royal Alex Hospital; and Ysbyty Gwynedd programme of works. 


The ongoing refurbishment of the mental health unit at Glyn Clwyd hospital should be assessed to 


ensure it is carbon ‘net zero’ in operation, this can be used as an exemplary model for any further 


planned refurbishments. Learnings from this development should be captured to ensure any new builds 


or major refurbishments further in the future post 2024 can be certified to a net zero standard. 


It is important as well that carbon is taken in to consideration throughout the entire life cycle (cradle to 


grave) of any new building, meaning that buildings are net zero through construction, operation and end 


of life. 


Initiative 12: All project teams to have an independent client-side sustainability 


representative to provide due diligence support for the optimal low carbon design 


across all development stages – and be responsible for ensuring the Net Zero 


Framework process is followed. 


To ensure that carbon emissions from buildings are not just an afterthought and are considered 


throughout the design process it is important that BCUHB have a suitably qualified client-side 


sustainability representative. This may require additional resource or upskilling of existing resource 


within the estates & facilities and capital projects teams. This representative should engage all teams 


across all elements of the design and construction phase to ensure that the health board can meet its 


decarbonisation targets in the long term. 


Initiative 13: Integrate Modern Methods of Construction (MMC) into the design and 


construction of new buildings – this will consider modular design, offsite fabrication, 


and just-in-time delivery to minimise construction-related carbon emissions. 


Many of the buildings within the health board’s estate have been constructed with traditional building 


techniques. However, there have been a range of technological advancements in recent years in terms 


of building design and construction that can have beneficial impacts on the carbon footprint of new 


buildings. These modern methods of construction (MMC) can, in many instances, achieve faster build 


times, fewer storage requirements, fewer transportation miles, use of less environmentally impactful 


materials (with fewer embodied carbon emissions), and even cost savings compared to some 


traditional building techniques. It will be important to maintain a holistic view to new building 


construction in the ambition to become net zero by 2030 and the use of MMC is one area that will be 


considered by BCUHB moving forward.  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


25 


Initiative 14: Install electric vehicle charging points in new developments beyond 


minimum requirements, and future-proof new car parks by installing infrastructure to 


enable straightforward installation of future charging points. 


BCUHB across some of its major acute sites has significant issues with availability of parking and 


misuse of current parking infrastructure. This is an ongoing issue that will need to be addressed, if it is 


decided that any new parking development is required then it will be key for the health board to ensure 


that any parking infrastructure has extensive availability of electric vehicle charging points and can be 


easily modified in future to take advantage of requirements for increased charging capacity or new 


technologies. 


Initiative 15: Prioritise low carbon heating solutions as a key design principle. No fossil 


fuel combustion systems are to be installed as the primary heat source. 


Current government guidelines outline plans for gas boilers to be banned from domestic new builds 


from 2025, and no new gas boilers to be sold in the UK from 2035 onwards. Albeit for the domestic 


sector this clearly highlights the government’s ambitions to move away from the use of fossil fuels for 


heating in buildings. As such, in line with the previous initiatives of achieving net zero operational 


emissions and the requirement for a sustainability representative in building design, BCUHB should 


ensure that any new primary heat source installed will be fossil fuel free (ie. no gas, oil, or LPG). 


Initiative 16: Incorporate the principles of sustainable transportation into the design of 


new sites (in addition to electric vehicle infrastructure) in line with the Welsh 


Government’s Active Travel Action Plan for Wales. 


In 2016, Welsh government released their ‘Active Travel Action Plan for Wales’1, this document details 


the ambition for walking and cycling to become the preferred means of transport over short distances. 


This is not only to reduce carbon emissions but to support the Welsh public more generally through 


reducing car dependency; reducing barriers to access to employment and healthcare; improved air 


quality; and better integration of existing land and transportation use. 


In the design of any new sites or major refurbishment, the Active Travel Action Plan should be consulted, 


with the range of actions considered and taken in to account. These will be of particular importance at 


community hospitals and smaller sites. This work should also be carried forward in existing sites. 


  


 


1 https://gov.wales/active-travel-action-plan 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


26 


4.3. Transport  


Initiative 17: NWSSP will work with Health Boards and Trusts to develop the best 


practice approach for EV charging technology, procurement, and car park space 


planning – this will include consideration of NHS Wales’ own fleet, staff vehicles, and 


visitor EV charging. 


It is essential that a best practice approach is developed for the design, planning, installation and 


operation of EV charging technology and parking planning; alongside the procurement of electric 


vehicles across NHS Wales sites such that a standardised approach is taken. This will facilitate and 


accelerate the uptake of electric vehicles. BCUHB should engage with NWSSP, as well other public 


sector partners, and with other health boards and trusts in order to ensure an aligned approach is taken, 


and best practice is noted and carried forward. The majority of staff across BCUHB travel by car so 


appropriate EV charging infrastructure and planning will enable staff to use lower emission sources of 


vehicle transport, although active travel should be prioritised as much as possible. This will help BCUHB 


to address the significant employee commuting emissions (see Figure 5: Breakdown of BCUHB’s 


emissions from transportation related sources).  


Initiative 18: A standardised system of vehicle management for owned and leased 


vehicles will be developed to plan, manage, and assess vehicle performance – this will 


entail central fleet management oversight within each organisation. 


Current carbon emissions from fleet account for only 4% of total transport emissions, however, efforts 


should still be made to reduce these in order to achieve the health board’s decarbonisation targets. 


Current fleet management is controlled by individual sites and departments, going forward the health 


board should consider installing a central fleet manager to oversee all vehicles and their usage. This will 


allow for far better control of decarbonising the fleet, developing a fleet strategy and ensuring actions 


and initiatives are put in place and the results monitored.  


BCUHB have already installed telemetry equipment in the pool cars and the majority of the core fleet to 


help increase vehicle management. The use of telematics is planned to be rolled out to the remaining 


BCUHB fleet, under the current healthboard strategy, to help increase the data BCUHB holds on the fleet 


and to enable targeted carbon reduction measures to be implemented. Significant progress has already 


been made in reducing emissions from BCUHB’s fleet, as fuel card volume has reduced 25% between 


18/19 and 19/20 and the core fleet has been reduced from around 750 vehicles in 2018 to 


approximately 450 in 2022. 


Initiative 19: All new cars and light goods fleet vehicles procured across NHS Wales 


after April 2022 will be battery-electric wherever practically possible. In justifiable 


instances where this not suitable, ultra-low emission vehicles should be procured. 


The sale of petrol and diesel fuelled vehicles will be banned from 2030 onwards in the UK, signalling a 


move to low or zero carbon forms of transport. The growing trend for low carbon transport is being 


driven by the purchase of battery electric vehicles. The rollout of electric vehicles across BCUHB has 


already begun with the acquisition of six cars across west, central and east sites; and nine electric pool 


cars for estates and facilities. 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


27 


 


Initiative 20: All new medium and large freight vehicles procured across NHS Wales 


after April 2025 will meet the future modern standard of ultra-low emission vehicles in 


their class. 


Medium and large freight vehicles are harder to decarbonise given the increased power requirements to 


move a larger load, as such there are few options on the market currently and often at a prohibitively 


expensive cost. However, this is changing and costs are beginning to decrease with new entrants to the 


market. Therefore, BCUHB should engage with suppliers to understand the future possibilities and 


options available to them, such that they are prepared to switch to ULEVs when appropriate. 


Initiative 21: All Health Boards and Trusts will appraise the use of staff vehicles for 


business travel alongside existing pool cars. Health Boards and Trusts will update their 


business travel policies to prioritise the use of electric pool cars, electric private 


vehicles and public transport. 


BCUHB should refresh their current sustainable travel policy, such that it better incentivises active travel 


low carbon forms of transport. This refresh should be developed by a sustainable travel manager and 


based on both the requirements to decarbonise staff travel along with the results of an annual staff 


travel survey that will need to be implemented. Engagement with public transport provides will also be 


important in reducing transport emissions. Additionally, all sites should have up to date active travel 


plans with visible active travel maps available to staff, patients and visitors. 


Initiatives 22, 23, 242 


  


 


2 Initiatives 22, 23 and 24 relate to Welsh Ambulance Services NHS Trust (WAST) activities. These initiatives fall 


under the responsibility of WAST, as detailed in the NHS Wales DSDP, and so are not considered within the scope of 


this action plan. 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


28 


4.4. Procurement 


Initiative 25: NWSSP will transition to a market-based approach for supply chain 


emissions accounting. 


Current carbon accounting for purchased goods and services within the health board and used for the 


NHS Wales decarbonisation strategy have used an expenditure-based approach. This methodology 


reviews the spend across health boards grouped by the service or goods type and applies a spend 


based emission factor of a relevant economic sub sector to calculate carbon emissions. The approach 


is useful for understanding a high level overview of carbon emissions, and hot spots within the supply 


chain – however, it fails to capture the use of low carbon products and suppliers. A more accurate 


method for calculating emissions from purchased goods and services is to look at the carbon footprint 


of individual suppliers and the proportion of it that is covered by what is purchased by the health board. 


This is called a market based approach and better reflects the sustainable procurement policies and 


conscious decision to select low carbon suppliers. This methodology does however require strong 


engagement with suppliers from both a health board and shared services level.  


Initiative 26: NWSSP will expand its current Sustainable Procurement Code of Practice 


to include a framework for assessing the sustainability credentials of suppliers. 


To ensure carbon emission reductions are accurately reflected in tender and other procurement 


documents, NWSSP and the All Wales Medicines Strategy Group have developed a new framework to 


address this. BCUHB will incorporate this strategy in Health Board level procurement decisions, which 


will help the Health Board assess the sustainability credentials of suppliers and reinforces the 


commitment of NHS Wales to achieve ambitious emissions reduction across the supply chain. It will 


also be important for the Health Board that relevant staff are well trained in best practice approaches to 


assess the sustainability credentials of suppliers. Additionally, issues surrounding an individual 


product’s carbon footprint will be an important consideration (where available) when procuring 


sustainable products. The avoidance of single use items will need to be viewed alongside any best 


practice guidance for infection control.  


Initiative 27: Value to the local supply chain will be maximised, whilst maintaining high 


standards for goods and services. 


Supporting the local supply chain has become a key element of the updated NWSSP guidance for 


selecting suppliers, with the ‘wellbeing and future generations act’ and ‘foundational economy’ criteria 


both taking the local supply chain in to account. BCUHB have already taken this guidance in to account 


when developing their own procurement strategies. BCUHB should make sure that all staff across the 


organisation are aware of this guidance and take the local supply chain in to account during any 


purchasing decisions. Prioritising locally sourced goods and services helps to reduce the emissions 


associated with transport and distribution. However, the embodied emissions of the goods themselves 


should be taken in to account, making sure that this is not greater than combined embodied, and 


transport and distribution emissions of goods from elsewhere. 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


29 


Initiative 28: 100% REGO-backed electricity will be procured by 2025, and 100% offset 


gas by 2030. 


Numerous electricity suppliers offer electricity which can be assured that it has come from or supports 


a renewable electricity source. This is using the REGO (renewable energy guarantee of origin) scheme, 


whereby renewable electricity generators produce a REGO certificate which can then be sold to 


consumers alongside their electricity which guarantees it is from a renewable source. Procuring REGO-


backed electricity sends a signal to the market that there is demand for renewable electricity and 


encourages the support and rollout of further renewables. Currently the majority of electricity procured 


by BCUHB is REGO-backed, this is not reflected within the carbon footprint (see section 2).  


The carbon footprint uses the UK average electricity grid emissions factor, which reflects electricity from 


all sources (natural gas, coal, wind, etc.). Using this approach, as opposed to zeroing out emissions 


from REGO sources, demonstrates that electricity is still being consumed and active measures should 


be taken to reduce its consumption. That is to say, by reporting emissions in this way aims to encourage 


energy efficiency measures. This should not detract from supporting REGO backed electricity suppliers, 


which sends a strong signal to the market that there is a desire for more renewable electricity 


generation. 


Natural gas is by its nature carbon intensive, and currently there is limited or no alternative zero-carbon 


fuel that can be procured and accounted for in the same way as renewably sourced electricity. The 


alternative is for the gas supplier to ensure that the carbon impacts associated with the gas they sell is 


offset through a reputable, gold standard, offsetting framework. 


Initiative 29: NWSSP Procurement Services will embed NHS Wales’ decarbonisation 


ambitions in procurement procedures by mandating suppliers to decarbonise. 


By moving to a market-based approach as per initiative 25, BCUHB’s footprint will be intimately 


connected to the carbon emissions generated by the suppliers themselves. Therefore, in order to 


decarbonise the health board’s supply chain, it is essential to select either a low/zero carbon 


product/supplier or engage with suppliers to encourage them to set their own decarbonisation targets 


and develop an action plan. One means to do this is to require suppliers to set a decarbonisation target 


that they act and report on in order to be selected as a supplier through the health boards procurement 


framework. 


Initiative 30: Sustainability will be embedded within strategic governance – NWSSP 


Procurement Services will work across Wales to champion decarbonisation in the 


supply chain, and influence decarbonisation ambitions for buildings and transport. 


To achieve significant and sustainable emission reductions over the long term it will be important that 


decarbonisation ambitions become embedded in the governance and decision making processes of 


both NWSSP and the health board. Regularly reviewing the progress of this action plan and integrating 


the review progress with other annual reporting will help incorporate decarbonisation within wider 


reporting metrics. It is also important that responsibility for sustainable procurement is taken at senior 


management level with a responsibility to report to director level. This will help embed decarbonisation 


within the governance structure, guide implementation and contribute to the success of this action plan. 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


30 


Initiative 31: NWSSP Procurement Services will improve supply chain logistics and 


distribution to reduce the carbon emissions from associated transport. 


Within the full lifecycle of services and goods purchased by the health board, the carbon impacts of 


associated transportation and distribution must be considered. This will be particularly important as the 


health board moves to a market-based approach for footprinting its supply chain. Current efforts to 


centralise the delivery of goods should continue, using lower carbon ‘last mile’ options operated at 


higher load to minimise the number and frequency of deliveries to sites, where traffic is already 


frequently a problem. 


Initiative 32: NWSSP Procurement Services will actively develop and support 


procurement requirements to support implementation of this Strategic Delivery Plan. 


Given the highly interconnected nature of procurement between NWSSP and BCUHB it will be crucial 


that close collaboration exists between both organisations to support the implementation of this 


decarbonisation action plan. The success of driving emissions reductions from procurement will 


necessitate engagement from both NWSSP and BCUHB and may require specific frameworks to be 


created for certain sectors such as EVs and infrastructure, renewable power, low carbon heat, local 


supply chains, and low carbon ICT procurement. BCUHB’s procurement team, and relevant senior 


leadership teams, will continue to work closely with NWSSP to actively engage with new procurement 


requirements, support cross-cutting initiatives, and communicate learnings to drive emissions 


reductions across the whole supply chain. 


 


 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


31 


4.5. Estate Planning and Land Use 


Initiative 33: All-Wales strategic estate planning will have carbon efficiency as a core 


principle – quantified carbon will be a key decision metric for planning new 


developments, rationalisation of the estate, and championing smart ways of working. 


 


It is crucial, if long term and significant emissions reduction are to be achieved, that decarbonisation 


becomes embedded within strategic estate planning at both an All-Wales and a BCUHB level. Through 


maintaining carbon efficiency as a core principle and using it as a key decision metric BCUHB will be 


able to ensure emission reductions are achieved at the earliest opportunity and avoid carbon emissions 


becoming locked into new health board processes or developments that may be hard or costly to rectify 


in the future. BCUHB is already undergoing strategic reviews of its assets in terms of new developments, 


smart ways of working and estate rationalisation. The key moving forward is that senior decision 


makers champion decarbonisation within these strategic plans and incorporate tools such as the net 


zero framework to ensure carbon reductions maintains a principle consideration.  


 


Initiative 34: NWSSP and Welsh Government will develop an approach to land use to 


advise Health Boards and Trusts on land identification, collaboration with Local 


Authorities and the community, and the appraisal approach for renewable energy and 


greenhouse gas removal. 


 


In a holistic assessment of carbon emissions, it is important to consider not only the built environment 


and Health Board operations but also the effects land use can have, both positive and negative. It will be 


important for BCUHB to carry out a land evaluation survey to identify the areas of the existing estate for 


potential renewable energy generation and for GHG removals, which will play an increasingly significant 


role in the years to come. Areas of green space can increase biodiversity and can also contribute to 


better physical and mental health for users of the space, whilst helping to reduce carbon emissions. It 


will be important for BCUHB to collaborate with local authorities and neighbouring landowners to 


effectively manage green space to maximise biodiversity, health benefits and carbon emission 


reductions. BCUHB will also engage with NWSSP and Welsh Government so that a standardised and 


best practice approach is followed for assessing land use possibilities.  


 


Initiative 35: NHS Wales will explore and progress large scale renewable generation with 


private wire connection to our sites. 


 


Large scale renewable energy generation has the ability to significantly reduce the amount of electricity 


consumption from the national grid. This not only reduces utility costs, increases energy resilience, 


improves grid flexibility, and insulates the health board from energy market volatility, but crucially 


reduces associated carbon dioxide emissions from electricity use. BCUHB is a substantial electricity 


consumer from its estate across the north Wales region. To meet the ambitious decarbonisation 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


32 


ambitions of the health board, it will be crucial that renewable energy generation is maximised across 


the health board’s own estate but also through private wire connections to renewable energy generation 


on third party or joint venture sites.  


BCUHB have worked with the Welsh Government Energy Service over a number of years to help facilitate 


renewable energy deployment across its’ estate. Installations have already been commissioned with 


others in planning or early implementation phases. BCUHB will continue its collaboration with WGES 


with an aim to install 50% of all identified renewable energy projects by 2026 and 100% by 2030. The 


effective maintenance and operation of these assets will take on greater importance over the coming 


years as the total capacity installed increases. This will require strong governance structures across a 


number of teams throughout the health board. 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


33 


4.6. Approach to Healthcare 


4.6.1. Smart Working 


Initiative 36: Our approach to 21st-century healthcare will be central to the design of 


new hospital developments – redesigning the whole journey with care closer to home in 


a carbon-friendly primary care estate with a reduced need to visit hospitals. 


To effectively reduce emissions to a minimum, a new service model must consider a shift in the way 


that care is delivered. BCUHB is committed to working with WG Capital, Estates and Facilities to ensure 


that its estate caters to the modern healthcare journey.  


Initiative 37: Support the Welsh Government’s target for 30% of the Welsh workforce to 


work remotely, by continuing to facilitate flexible and smart working, developing the 


existing approach to remote working technology, and rationalising existing office 


space. 


The covid-19 pandemic has accelerated many aspects of flexible and agile working, it has proven that 


productivity can remain high when staff work from home on a long-term basis and has increased the 


uptake of technology that facilitates remote working. Through staff surveys the health board can 


understand the willingness and efficacy of working from home versus office-based working; results 


from these surveys can show where aspects may need to be improved to further increase uptake of 


remote working. On a long-term basis, understanding working preferences can provide information 


needed for future planning of the health board’s property portfolio and estate – leading to rationalisation 


of existing sites that are not fit for purpose and increasing smaller, more sustainable agile working hubs. 


The existing estates strategy should consider these impacts along with the property disposal strategy. 


Initiative 38: Continue to utilise technology to increase the efficiency of engagements 


between staff and the public where suitable. 


As a necessity for reduced contact during the covid-19 pandemic, numerous staff/public interactions 


were forced to move online. A significant proportion of GP consultations were held virtually, fine tuning 


the technology behind this and the offering to the public will help to reduce the volume of patient, visitor 


and staff travel to health board sites. Further investigation should be undertaken by the health board to 


understand how and where appropriate more staff/public interactions could occur online. 


BCUHB will continue to build upon the progress made during the Covid-19 pandemic in the following 


ways:  


• Maintain the use of digital consultations and patient monitoring where possible to reduce the 


requirement for avoidable staff and patient travel - where medically appropriate. 


• Use technology alongside the 111 service to support patient triage, information gathering, and 


to signpost patients to appropriate health services. 


• Ensure healthcare professionals are provided with the appropriate technology to carry out these 


tasks effectively. 


• Take advice from NHS Wales to the best practice use of digital technology; and 


• Continue the process of digitalisation of heath records, which has already begun, and will 


continue throughout the Action Plan period. 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


34 


4.6.2. Education 


Initiative 39: Health education will be used to champion decarbonisation across our 


service – we will encourage sustainable healthcare practice, waste efficiency, and low 


carbon staff and patient behaviour. 


Educating staff and patients is seen as a key enabler for the success of this delivery action plan. A 


majority of the UK population sees the climate emergency as a significant concern, and a large 


proportion are unsure how best they can change their lifestyle, habits and actions to help3. Educating the 


wider public on the impacts of the climate emergency and what they can do in their everyday lives and in 


the workplace will be extremely beneficial for embedding good practice and decarbonisation actions. 


It is suggested that all BCUHB staff undergo carbon literacy training, in development by PHW, in order to 


understand the carbon emissions impacts of their working operations, choices and habits. 


Educating staff and patients was raised during many of the focussed workshops held in the 


development of this delivery action plan. It is currently believed that a significant proportion of staff are 


unaware of the NHS Wales decarbonisation target and strategy, what this means for BCUHB and the 


actions that are currently being undertaken to meet these targets. This relates to initiatives 2 and 3, in 


that the education of staff should go hand in with the approach to engagement. 


4.6.3. Healthcare and Medicines 


Initiative 40: Support the work of existing working groups such as the Welsh 


Environmental Anaesthetic Network to raise awareness of the carbon impact of medical 


gases and transition to a culture where gases with low global warming potentials are 


prioritised. 


BCUHB will consult with Welsh Anaesthetic Green Network (WAGN) and senior medical staff to evaluate 


their existing trials to reduce emissions associated with anaesthesia and Nitrous Oxide to help develop 


an approach to expand best practice across all of Wales. It will also work with the All Wales Medicines 


Strategy Group to assist with the implementation of a Environmentally Friendly Medical Gas Policy. 


Initiative 41: Explore methods of minimising gas wastage and technologies to capture 


expelled medical gases. 


BCUHB will ensure medical gas capture technology is integral to all new builds and major 


refurbishments.  


Initiative 42: Take a patient-centric approach to optimise inhaler use, focusing on a 


reduction in the over-reliance of reliever inhalers where possible and emphasising the 


importance of inhaler-specific disposal and recycling. 


BCUHB will seek guidance from the All Wales Medicine Strategy group and RHIG on this initiative.  


 


3https://www.ons.gov.uk/peoplepopulationandcommunity/wellbeing/articles/threequartersofadultsingreatbritainw


orryaboutclimatechange/2021-11-05 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


35 


Initiative 43: Transition the existing use and distribution of carbon-intensive and high 


global warming potential (GWP) inhalers to alternative lower GWP inhaler types where 


deemed suitable. 


BCUHB will seek guidance from the All Wales Medicine Strategy group and RHIG on this initiative.  


4.6.4. Waste 


Initiative 44: Support the development of guidance by 2022 for best practice reduction 


of pharmaceutical waste. 


BCUHB will work with NWSSP and ensure best practice initiatives for the reduction of pharmaceutical 


waste are implemented once finalised. BCUHB will also collaborate with other Health Boards and Trusts 


to ensure a standardised approach.  


Initiative 45: Develop a 'plastics in healthcare' initiative to address waste in the delivery 


of health care – this will aim to tackle PPE, single use plastics, and packaging waste. 


BCUHB will work with NWSSP and ensure best practice initiatives for plastics in healthcare are 


implemented once finalised. BCUHB will consider second life possibilities for non-medical equipment 


that is no longer required. Reuse elsewhere within the Health Board and donation will be prioritised over 


creation of waste. This will be incorporated into Health Board policy. 


Initiative 46: Engage with pharmacists and prescribers to build upon and support 


existing efforts to encourage responsible disposal of inhalers through discussions with 


patients, information leaflets, posters and media. 


BCUHB will introduce additional inhaler-specific disposal facilities in hospitals in partnership with 


industry stakeholders. It will also support the work of groups such as the Welsh Respiratory Health 


Implementation Group and the International Pharmaceutical Aerosol Consortium to emphasise the 


importance of responsible disposal with regard to carbon emissions and encourage pharmacists and 


prescribers to stress the importance of responsible disposal to their patients, and the fact that even low 


carbon inhalers need to be disposed of properly. It will also make use of the existing RHIG digital app to 


effectively communicate with patients.  


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


36 


5. Decarbonisation Action Plan 2022-24 


This section of the report sets out the decarbonisation actions that will be implemented by BCUHB from March 2022 to March 2024 to align with the NHS Wales 


Decarbonisation Strategic Delivery Plan, along with key delivery dates and responsibilities. All actions have been linked back to the relevant initiative within the 


NHS Wales Decarbonisation Strategic Delivery Plan for ease of reference. Wherever possible, actions have also been quantified. See Appendix 2 for further 


details. 


Table 5: Summary of 2022-24 Action Plan 


While emissions reductions will need to be achieved across the Health Board to align with Net Zero 2030, buildings account for the majority of BCUHB’s Scope 1 


& 2 carbon footprint and, crucially, are under BCUHB’s direct control. Decarbonisation of buildings therefore presents an opportunity for BCUHB to make 


significant and early progress towards Net Zero. The buildings within BCUHB’s estate can be broadly split into two categories; existing buildings (where retrofit 


 Estimated Annual Savings 


Est. Capital Costs 2022-


24 (£) 


Est. 10 year Carbon Savings  


(tCO₂e) Area £ 
tCO₂e  


(2024) 
Activity (unit) 


Carbon Management -£528,615.44 1,297 6,232,124 kWh - 9,586 


Buildings £582,295.05 3,565 17,092,515 kWh £5.4m 28,161 


Transport £305,895 741 
248,906 Litres 


- 406922 kWh 
£1.1m 5,296 


Procurement - 14,366 - £100k 94,342 


Estate Planning & Land Use - - - - - 


Approach to Healthcare - - - - - 


Total £1,416,805.43 19,969 - £6.6m 138,015 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


37 


solutions are required), and new builds and major refurbishments. This action plan follows the NHS Wales Decarbonisation Strategic Delivery Plan by exploring 


actions with regards to buildings under these two sub-categories.  


BCUHB has a significant number of built assets that span a wide range of applications and construction years, with many sites that were not constructed to the 


same energy efficiency standards that are currently in place for new buildings. The wide variety in building types and energy efficiency standards of the property 


portfolio necessitates a targeted action plan that can achieve emission reductions across the built estate as well as specific measures to maximise 


decarbonisation on a building-by-building basis.  It is important that the carbon reductions are prioritised in existing building retrofits and that business cases 


are not solely driven on cost savings, with some cases even resulting in increased costs to be expected. Additionally, strategy at NHS Wales level is that 


uncertainly to the future of built assets should not be a cause for inaction over decarbonisation initiatives. The estimated savings identified through audits at 


each acute hospital site, and associated capital costs, are summarised below in Table 6. For a more detailed breakdown of costs and savings by measure, see 


Appendix 2. 


5.1.1. Existing Building Retrofit 


Table 6: Savings and costs identified through audits of acute sites 


 


 Est. Year 1 Savings 


Est. Capital Costs 


2022-24 (£) 


Est. 10 year Carbon 


Savings  


(tCO₂e) 
Acute Hospital £ 


tCO₂e  


(2021) 
kWh 


Ysbyty Gwynedd 310,130 270 1,178,400 793,900 2,140 


Glan Clwyd 520,200 370 1,600,300 1,102,600 2,900 


Wrexham Maelor 327,600 260 1,158,852 923,300 2,100 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


38 


Carbon Management 


NHS Wales 
Decarbonisation 
Strategic Delivery 
Plan Initiative  


BCUHB Actions  Responsibility of 
Responsible 
Officer 


Developed / 
Business 
Case by 


Implemented 
by 


Development 
Funding 


Investment 
Funding 


Comments 


1. Implement best 
practice carbon 
management with 
dedicated roles in 
place to undertake 
Delivery Plan 
initiatives. 


Assign responsibility for the implementation of this Action Plan to a 
named person(s), and provide necessary resources to deliver all 
actions by 2024. 


Decarbonisation 
Programme 
Board 


 N/A Sep-22 £0 £0  


Undertake monthly Action Plan progress reviews and utilise the Welsh 
Health Environment Forum to support delivery. 


Decarbonisation 
Programme 
Board 


 N/A Ongoing £0 £0  


2. Proactively 
communicate the 
Climate Emergency 
to staff and the 
public with the aim 
of stimulating low 
carbon behaviours 
and growing 
engagement in the 
decarbonisation 
agenda. 


Develop the decarbonisation programme board with cross-health 
board discipline members to increase engagement and drive 
implementation of decarbonisation initiatives. This board will report in 
to People, Partnerships and Public Health (PPPH). This can be 
supported by the current grass roots BCU Green Group. 


Current SRO for 
decarbonisation 
(Exec. Director of 
finance) 


 N/A Sep-22 £0 £0  


Introduce a carbon literacy training programme for all BCUHB staff. Decarbonisation 
Programme 
Board 


 N/A Sep-22 TBC TBC  


Develop case studies of carbon saving in tandem with Welsh 
Government Energy Service. 


Decarbonisation 
Programme 
Board 


 N/A Sep-22 £0 £0  


Current BMS knowledge at acute sites is concentrated in key 
individuals. Provide internal training to upskill wider estates team on 
BMS operation and best practice use. Ensure knowledge of any 
system upgrades are appropriately disseminated within wider estates 
team. 


Estates and 
Facilities - 
operational 
estate 


 N/A Dec-22 £0 £0  


Initial work needs to be carried out to develop an annual staff travel 
survey, understanding: how staff currently commute; what the current 
barriers are to active and sustainable travel; what would incentivise or 
motivate staff to travel sustainably. 


Decarbonisation 
Programme 
Board / 
Transport and 
sustainable travel 
manager 


 N/A Ongoing £0 £0  


Liaise with Welsh Government to ensure kept up to date on active 
travel plans and available funding options. Further engage with 
relevant external stakeholders mentioned within the active travel 
action plan to understand potential local opportunities. 


Decarbonisation 
Programme 
Board - Transport 
leads 


 N/A Ongoing £0 £0  


Carry out surveys to understand potential bicycle storage area 
requirements for each site, determine a location, cost of the project, 
and how it fits in with site operations and local travel planning. 
Understand the electrical demand requirement for e-bike charging. 
Review cycle to work scheme to ensure it can accommodate the 
purchasing of higher value e-bikes. 


Decarbonisation 
Programme 
Board, Estates & 
Facilities, and 
transport 
manager 


 Dec-22 Mar-23 £0 TBC  


Present a summary of this Decarbonisation Action Plan to BCUHB 
Senior Management (with the Carbon Trust). 


Director of 
Estates / Carbon 
Trust 


 N/A May-22 £0 £0  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


39 


 


  


NHS Wales 
Decarbonisation 
Strategic Delivery 
Plan Initiative  


BCUHB Actions  Responsibility of 
Responsible 
Officer 


Developed / 
Business 
Case by 


Implemented 
by 


Development 
Funding 


Investment 
Funding 


Comments 


3. Drive the 
engagement 
required for 
decarbonisation 
across each 
organisation’s 
leadership team – 
Finance, 
Procurement, 
Estates, and Capital 
Project teams will 
engage to develop a 
focussed and active 
approach to project 
implementation. 


Review a number of financial opportunities to support 
decarbonisation programme (e.g. already engaging with re:Fit) 


Decarbonisation 
Programme 
Board 


 N/A Sep-22 £0 £0  


Continue to engage with the Welsh Government Energy Service to 
develop and deliver solar photovoltaic projects. 


Estates and 
Facilities 
Managers 


 N/A Ongoing TBC TBC  


Following on from the development of a decarbonisation programme 
board, there should be dedicated sustainability managers within each 
major department that can report on and feedback progress to the 
decarbonisation programme board and vice versa. 


Decarbonisation 
Programme 
Board and All 
departments 


 N/A Sep-22 £0 £0  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


40 


Buildings 


Existing Building Retrofit 


NHS Wales 
Decarbonisation Strategic 
Delivery Plan Initiative  


BCUHB Actions Responsibility of 
Responsible 
Officer 


Developed 
/ Business 
Case by 


Implemented 
by 


Development 
Funding 


Investment 
Funding 


Comments 


4. Progress a 
transformational energy 
and water efficiency retrofit 
programme across the 
estate – every building with 
a long-term future will have 
undergone a multi-
technology energy-efficient 
upgrade by 2030. 


Currently site audits have been undertaken at the three acute sites (Glan 
Clwyd, Ysbyty Gwynedd and Wrexham Maelor) as part of this 2022-24 
delivery action plan. Further energy and carbon audits should be 
commissioned across other large or high impact sites as part of future 
delivery action plans. 


Implement actions outlined in site audits (Appendix 1), with priority 
given to building fabric improvements (glazing and insulation) 


Estates and 
facilities 


 N/A Mar-24 TBC £0  


Pipe insulation across the entire site at Ysbyty Gwynedd to be upgraded. Estates and 
facilities 


 Dec-22 Mar-24 £0 £84k  


Across all acute sites local heating controls should be upgraded to TRVs 
where appropriate 


Estates and 
facilities 


 Dec-22 Mar-24 £0 £1.0m  


Continue to rollout BMS upgrades at YG and YGC Estates and 
facilities 


 Dec-22 Mar-24 TBC TBC  


Investigate options to install and rollout sub-metering for heating onsite 
at YG 


Estates and 
facilities 


 Sep-22 Mar-23 TBC TBC  


Across all sites older AHUs should have their motors switched to inverter 
driven or preferably EC motors. 


Estates and 
facilities 


 May-22 Sep-22 £0 TBC  


The lifts at the main hospital at YG should be refurbished with more 
efficient motors. 


Estates and 
facilities 


 Dec-22 Mar-24 £0 £60k  


The assessment unit at YG should have insulation added to the pitched 
roof. Loft insulation to be installed within the EMS and estates buildings 
at WMH. Within the temporary building structures at WMH, insulation 
and draughtproofing should be installed or upgraded. 


Estates and 
facilities 


 Dec-22 Mar-24 £ £55k  


Further investigate the feasibility of solar PV installations across the 
acute sites 


Estates and 
facilities 


      


5. Fully replace all existing 
lighting with LED lighting by 
2025. 


All lighting replacements across the estate will be with LED. Revised lux 
levels will be considered where necessary. 


Senior Estate 
Managers 


  Apr-22 TBC TBC  


Continue journey to upgrade lighting across the health board's building 
estate by 2025. Additional funding may need to be sought. Preliminary 
financial modelling for lighting upgrades across the three acute hospital 
sites have been presented to BCUHB as part of the energy audits 
conducted for this action plan. 


Senior Estate 
Managers 


 Mar-23 Mar-24 £0 £4.75m  


6. Complete expert heat 
studies by the end of 2023 
for all acute hospitals to set 
the plan to transition away 


Undertake specialist low carbon heat evolution plans at all three acute 
hospital sites to set out a transition plan away from fossil fuelled heat 
toward low carbon heat. This will include heat generation, heat 
distribution, heat emitters, and building fabric upgrades. 


Senior Estates 
Managers 


 Mar-23 TBC £330k £0  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


41 


NHS Wales 
Decarbonisation Strategic 
Delivery Plan Initiative  


BCUHB Actions Responsibility of 
Responsible 
Officer 


Developed 
/ Business 
Case by 


Implemented 
by 


Development 
Funding 


Investment 
Funding 


Comments 


from fossil fuel heat 
sources. Undertake a feasibility study to convert Mental Health Unit at Wrexham 


Maelor Hospital to ASHPs - where there is underfloor heating is 
available. 


WMH Senior 
Estates Managers 


 Sep-22 Mar-23 £10k £0  


Undertake detailed low carbon heat study and replace end-of-life  boilers 
with air source heat pumps at both Mortuary and Creche at Glan Clywd. 


YGC Senior Estates 
Managers 


 Sep-22 Dec-24 £20k £140k  


7. Progress low carbon 
heat generation for all non-
acute sites larger than 
1,000m2 by 2030. 


Low carbon heat design and planning studies to be undertaken at non-
acute sites. 


Senior Estates 
Managers 


 Mar-23 Mar-24 £0 £330k  


8. No further natural gas 
CHP plant will be installed 
– renewable CHP will be 
championed instead. For 
existing CHP plant, 
decommissioning will be 
prioritised over investment 
in major refurbishment of 
failed CHP from 2025, with 
the ambition for all CHP to 
be decommissioned by 
2030. 


Continue to certify all CHP plant to the CHPQA programme. Senior Estates 
Managers 


 N/A Ongoing TBC £0  


BCUHB have no plans for new CHP. CHP already exists at 2 acute sites. 
The scheme at Glan Clwyd should be investigated to understand 
whether it can be decommissioned as early as 2023. The CHP plant 
Ysbyty Gwynedd is approaching end of life and should be 
decommissioned as early as feasible. 


Senior Estates 
Managers 


 N/A Apr-22 £0 £0  


Assess age and condition of current CHP plant for planned 
decommissioning and identify impact (financial and carbon) of early 
retirement where possible. 


Senior Estates 
Managers 


 Mar-23 Mar-24 TBC £0  


Put plan in place for decommissioning current CHP plant at acute sites. Senior Estates 
Managers 


 N/A Ongoing £0 TBC  


9. Take an active approach 
to efficient control of 
energy in our buildings. All 
buildings will have up-to-
date, standardised, and 
effective building 
management systems 
(BMS). Dedicated resource 
to optimise the use of 
energy by BMS control will 
be put in place by 2023. 


BMS upgrades are already ongoing at YG to modern Honeywell unit. 
With Trent unit upgrades at YGC and WMH. 


Senior Estates 
Managers 


 N/A Jul-23 £0 TBC  


Estate departments should develop standard operating procedures for 
each acute site to optimise the efficient operation of buildings; this will 
include set schedules for time-clocks / operating setpoint / alarms. 


Senior Estates 
Managers / BMS 
Site Leads 


 N/A Sep-22 £0 £0  


Have in place trained BMS operatives at 3 acute sites (for Honeywell 
and Trent systems). These individuals should hold regular internal 
training to upskill other Estates staff on BMS controls 


Senior Estates 
Managers / BMS 
Site Leads 


 N/A Sep-23 £0 £0  


10. Determine the overall 
viable potential for onsite 
renewable energy 
generation at each NHS 
organisation by 2023. 
Install half of this potential 
by 2026, and the remainder 
by 2030. 


Continue work with the Welsh Government Energy Service to assess 
renewable feasibility across the estate. This includes both roof-mounted 
and ground-mounted systems. 


Decarbonisation 
Programme Board 
/ Estates 
Managers 


 N/A Mar-23 £0 £0  


Develop a strategy to ensure existing renewable energy systems remain 
well maintained (e.g. periodic cleaning schedule, schedule of 
consumable part replacement (e.g. inverters) in line with expected 
lifespans). 


Decarbonisation 
Programme Board 
/ Estates 
Managers 


 Dec-22 Mar-23 £0 £0  


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


42 


New Buildings and Major Refurbishments 


NHS Wales Decarbonisation Strategic 


Delivery Plan Initiative  
BCUHB Actions  Responsibility of 


Responsible 


Officer 


Developed / 


Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


11. Develop and build low carbon 


buildings to net zero standard – 


engage and collaborate with NHS 


partners across the UK on the 


emerging net zero building standard 


for hospitals and adopt a net zero 


building accreditation approach which 


will be defined by 2022. 


Ensure any new buildings will be BREEAM 'Excellent' with 


refurbishments achieving 'Very Good'. 
Estates & 


Facilities 


 N/A Ongoing TBC £0  


Any future new builds will be certified to the relevant 


adopted net zero standard – including proposed new 


mental health unit at YGC. 


Estates & 


Facilities 


 N/A Ongoing TBC £0  


Embodied carbon will be calculated and presented for 


new builds and major refurbishments (e.g. BS 15978, 


CIBSE TM65) 


Estates & 


Facilities 


 N/A TBC TBC £0  


12. All project teams to have an 


independent client-side sustainability 


representative to provide due 


diligence support for the optimal low 


carbon design across all development 


stages – and be responsible for 


ensuring the Net Zero Framework 


process is followed. 


Ensure that suitable qualified client-side sustainability 


representatives are in place for all new build projects. 


The sustainability representative will be responsible for 


championing flexibility in the design to ensure that new 


and emerging low carbon technologies can be added at 


later stages of the design process. 


Estates team  N/A 
Mar-24 TBC £0  


13. Integrate Modern Methods of 


Construction (MMC) into the design 


and construction of new buildings – 


this will consider modular design, 


offsite fabrication, and just-in-time 


delivery to minimise construction-


related carbon emissions. 


BCUHB will work with the with design teams for all new 


build and major refurbishment developments to consider 


the use of Modern Methods of Construction (MMC) and 


modular designs principles. Design teams will have to 


provide compelling reasons if MMC are not considered or 


state why they are not appropriate. 


Estates & 


Facilities 


 N/A Ongoing £0 £0  


14. Install electric vehicle charging 


points in new developments beyond 


minimum requirements, and future-


proof new car parks by installing 


infrastructure to enable 


straightforward installation of future 


charging points. 


BCUHB will carry out electric Authorised Service Capacity 


reports for all new build and major refurbishments to 


assess additional EV charging capacity at each site. 


Estates & 


Facilities / 


Transport & 


Sustainable Travel 


Manager 


 N/A Mar-22 £0 £0  


All new car parks will have appropriate EV charging 


infrastructure installed to enable future connections and 


charging unit installs. 


Transport & 


Sustainable Travel 


Manager 


 N/A Ongoing TBC £0  


Current EV charging infrastructure is a barrier to 


significant EV deployment. Engage with NWSSP to 


establish best practice approach to EV uptake (see 


Transport section and Initiative 17 of NHW Wales 


Decarbonisation Strategic Delivery Plan 2021-2030). 


Estates & 


Facilities / 


Transport & 


Sustainable Travel 


Manager 


 N/A Mar-22 £0 £0  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


43 


NHS Wales Decarbonisation Strategic 


Delivery Plan Initiative  
BCUHB Actions  Responsibility of 


Responsible 


Officer 


Developed / 


Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


Look to install rapid charge points as EV infrastructure 


progresses across all sites. 


Estates & 


Facilities / 


Transport & 


Sustainable Travel 


Manager 


 N/A Ongoing TBC TBC  


15. Prioritise low carbon heating 


solutions as a key design principle. No 


fossil fuel combustion systems are to 


be installed as the primary heat 


source. 


Ensure all new or refurbished sites utilise low temperature 


heating systems with variable flow temperatures and a 


low carbon heat source. No new natural gas, oil or LPG 


boilers will be installed as a primary heat source going 


forward beyond those which are currently planned - fossil 


fuels may only be used as backup energy sources. 


Estates & 


Facilities 


 N/A Ongoing £0 £0  


16. Incorporate the principles of 


sustainable transportation into the 


design of new sites (in addition to 


electric vehicle infrastructure) in line 


with the Welsh Government’s Active 


Travel Action Plan for Wales. 


Continue to work with local authorities and local public 


transport providers to ensure new sites have suitable 


public transport options. Ensure all three acute hospital 


sites have a fully up to date and maintained active travel 


maps. Incorporate cycling facilities to enable secure 


storage and shower/ locker facilities. This work should be 


replicated in existing sites. 


Estates & 


Facilities 


 N/A Ongoing £0 £0  


 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


44 


Transport 


 


NHS Wales Decarbonisation 


Strategic Delivery Plan Initiative  
BCUHB Actions  Responsibility of 


Responsible 


Officer 


Developed 


/ Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


17. NWSSP will work with 


Health Boards and Trusts to 


develop the best practice 


approach for EV charging 


technology, procurement, and 


car park space planning – this 


will include consideration of 


NHS Wales’s own fleet, staff 


vehicles, and visitor EV 


charging. 


BCUHB should support NWSSP in the development of the ongoing EV 


charge point framework (currently in development and expected Sep 22). 


Estates & Facilities / 


Transport & 


Sustainable Travel 


Manager 


 Sep-22 Mar-23 TBC TBC  


BCUHB should develop their own EV charging strategy following on from 


the framework developed by NWSSP. Currently 30% of lease cars are 


electric, and a strategy will need to be in place going forward to ensure that 


increasing demand for charge points can be met. As a result of current 


funding limitations, this strategy should be developed this financial year, 


with recommendations and suggestions implemented in the FY23/24. 


Estates & Facilities / 


Transport & 


Sustainable Travel 


Manager 


 2022-23 2023-24 TBC TBC  


Engage with NWSSP and other public sector partners to implement further 


EV charging rollout at the scale and pace to match demand, which will be 


specified in the best practice approach. 


Transport & 


Sustainable Travel 


Manager 


 Mar-23 Mar-24 TBC TBC  


20x EV charging points have been installed at the Wrexham site for use by 


the estates and facilities fleet. There is a need to further review the 


potential for EV charging points including fast chargers, including the 


upgrade of temporary EV chargers at Glan Clwyd and Ysbyty Gwynedd to 


permanent chargers. 


Estates & Facilities / 


Transport & 


Sustainable Travel 


Manager 


 Apr-22 Mar-24 £0 £140k  


18. A standardised system of 


vehicle management for owned 


and leased vehicles will be 


developed to plan, manage, and 


assess vehicle performance – 


this will entail central fleet 


management oversight within 


each organisation. 


BCUHB should create a new central, dedicated transport & sustainable 


travel role who should oversee all operations by 2023. 
Senior Execs  Jul-22 Sep-22 £40,000 £0  


Develop a BCUHB fleet baseline assessment to consider vehicle types / CO2 


emissions / age / efficiency / fuel types etc. Ensure arrangements are in 


place for an annual review of the fleet. 


Transport & 


Sustainable Travel 


Manager / 


Decarbonisation 


programme Board 


 N/A Sep-22 £0 £0  


Continue to implement rollout of telematics tracking system across all 


BCUHB vehicles. 
Transport & 


Sustainable Travel 


Manager 


 N/A Ongoing £0 TBC  


19. All new cars and light goods 
fleet vehicles procured across 
NHS Wales after April 2022 will 
be battery-electric wherever 
practically possible. In 
justifiable instances where this 
not suitable, ultra-low emission 
vehicles should be procured. 


Progress has been made to replace existing fleet with battery EVs. BEVs 


will be the default for all new vehicles up to 3.1t (except emergency 


response). 


Transport & 


Sustainable Travel 


Manager 


 Sep-22 Mar-23 £0 £950k  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


45 


NHS Wales Decarbonisation 


Strategic Delivery Plan Initiative  
BCUHB Actions  Responsibility of 


Responsible 


Officer 


Developed 


/ Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


20. All new medium and large 


freight vehicles procured across 


NHS Wales after April 2025 will 


meet the future modern 


standard of ultra-low emission 


vehicles in their class. 


Develop an approach to decarbonise fleet emissions, including: 


Vehicle management systems to consolidate journeys / Technologies such 


as low energy tyres and aerodynamic improvements / Exploring localised 


opportunities for alternative fuels (e.g. biodiesel / hydrogen). 


Transport & 


Sustainable Travel 


Manager 


 Sep-22 Mar-23 £0 £0  


21. All Health Boards and Trusts 


will appraise the use of staff 


vehicles for business travel 


alongside existing pool cars. 


Health Boards and Trusts will 


update their business travel 


policies to prioritise the use of 


electric pool cars, electric 


private vehicles and public 


transport. 


 


 


Consider incentives / disincentives to encourage staff to transition from ICE 


vehicles to ULEV / EVs. Identify the limitations / barriers to incentivisation 


that exist within the A4C terms and conditions or Equality legislation. 


Transport & 


Sustainable Travel 


Manager 


 N/A Sep-22 £0 £0  


Publish sustainable travel hierarchy that prioritises active travel where 


possible and low emissions sources where active travel is not possible. 


Decarbonisation 


programme Board 


 N/A May-22 £0 £0  


Increase awareness amongst staff of EVs and their benefits, develop soft 


touch approaches to encourage migration of staff vehicles over to EVs. 


Transport & 


Sustainable Travel 


Manager 


 N/A Ongoing £0 £0  


Develop a staff travel survey to establish staff travel routines, this will form 


part of the DGH’s site-specific Green Travel Plans. Ensure surveys are 


undertaken on an annual basis. 


Transport & 


Sustainable Travel 


Manager 


 Sep-22 Oct-22 £0 £0  


Develop and implement a new process for the collection of patient travel 


data. Ensure surveys are undertaken on an annual basis. 


Transport & 


Sustainable Travel 


Manager 


 Sep-22 Oct-22 £0 £0  


 


Engage with public transport providers to optimise public transport routes 


and options to all sites. 


Transport & 


Sustainable Travel 


Manager 


 N/A Ongoing £0 £0  


 


Ensure all sites have up to date active travel plans with visible active travel 


maps for staff and visitors 


Transport & 


Sustainable Travel 


Manager 


 Sep-22 Sep-23 £0 £0  


 


 


*Initiatives 22, 23 and 24 relate to Welsh Ambulance Services NHS Trust (WAST) activities. These initiatives fall under the responsibility of WAST, as detailed in the NHS Wales DSDP, and so are not considered within the scope of this action plan.  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


46 


Procurement 


 


NHS Wales Decarbonisation Strategic 


Delivery Plan Initiative  
BCUHB Actions  


Responsibility 


of 


Responsible 


Officer 


Developed 


/ Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


25. NWSSP will transition to a market-


based approach for supply chain 


emissions accounting. 


Conduct a review of medical gas and inhaler procurement to 


better understand the supplier emissions breakdown. 
Head of 


procurement 


 N/A Mar-23 £0 £0  


Develop a template for approaching BCUHB's top 100 


suppliers (by value) to establish product-specific carbon 


emission information. This data should be collected annually 


from March 2022.  


Head of 


procurement 


 May-22 Mar-23 £50k £0  


Share the key findings from the initial engagement with these 


top 100 suppliers across the Health Board and with NWSSP 


teams (including Transformational Procurement Team). 


Head of 


procurement 


 N/A May-22 £0 £0  


Establish a system for engaging with the top 100 suppliers 


periodically (e.g., two-yearly) to undertake due diligence on 


supplier carbon emissions calculations. 


Head of 


procurement 


 N/A May-22 £50k £0  


Incorporate Welsh Government Policy Procurement Notes 


06/21 and 12/21 into tender processes. With the support of 


NWSSP, continue developing a template for tenders that 


incorporates decarbonisation. 


Head of 


procurement 


 N/A Mar-22 £0 £0  


BCUHB will take advice from NWSSP on updated carbon 


footprint methodology and the need to collect market-based 


carbon emission data. It will also engage with the forthcoming 


Welsh Government procurement workstream. 


Head of 


procurement 


 N/A Mar-22 £0 £0  


26. NWSSP will expand its current 


Sustainable Procurement Code of 


Practice to include a framework for 


assessing the sustainability credentials 


of suppliers. 


BCUHB Procurement to respond as required to outcome of 


NWSSP Procurement actions. 


Head of 


procurement 


 TBC TBC TBC £0  


27. Value to the local supply chain will 


be maximised, whilst maintaining high 


standards for goods and services. 


BCUHB Procurement to respond as required to outcome of 


NWSSP Procurement actions. 


Head of 


procurement 


 TBC TBC TBC £0  


28. 100% REGO-backed electricity will 


be procured by 2025, and 100% offset 


gas by 2030.  


Continue to work with appropriate teams across NHS Wales 


to maintain 100% REGO backed electricity supply. 


Head of 


procurement 


 N/A Ongoing £0 £0  


29. NWSSP Procurement Services will 


embed NHS Wales’ decarbonisation 


ambitions in procurement procedures 


by mandating suppliers to decarbonise. 


BCUHB Procurement to respond as required to outcome of 


NWSSP Procurement actions.  


Head of 


procurement 


 TBC TBC    







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


47 


NHS Wales Decarbonisation Strategic 


Delivery Plan Initiative  
BCUHB Actions  


Responsibility 


of 


Responsible 


Officer 


Developed 


/ Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


30. Sustainability will be embedded 


within strategic governance – NWSSP 


Procurement Services will work across 


Wales to champion decarbonisation in 


the supply chain, and influence 


decarbonisation ambitions for buildings 


and transport. 


BCUHB Procurement to respond as required to outcome of 


NWSSP Procurement actions. 


Head of 


procurement 


 TBC TBC    


31. NWSSP Procurement Services will 


improve supply chain logistics and 


distribution to reduce the carbon 


emissions from associated transport. 


BCUHB Procurement to respond as required to outcome of 


NWSSP Procurement actions. 


Head of 


procurement 


 TBC TBC    


32. NWSSP Procurement Services will 


actively develop and support 


procurement requirements to support 


implementation of this Strategic 


Delivery Plan. 


BCUHB Procurement to respond as required to outcome of 


NWSSP Procurement actions. 


Head of 


procurement 


 TBC TBC    


 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


48 


Estate Planning and Land Use 


 


NHS Wales Decarbonisation Strategic 


Delivery Plan Initiative  
BCUHB Actions  


Responsibility 


of 


Responsible 


Officer 


Developed / 


Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


33. All-Wales strategic estate planning 


will have carbon efficiency as a core 


principle – quantified carbon will be a 


key decision metric for planning new 


developments, rationalisation of the 


estate, and championing smart ways 


of working. 


Estates and asset management strategy will ensure the 


incorporation of recommendations of decarbonisation. 


Planning and 


policy team 


 N/A Ongoing £0 £0  


Ensure rationalisation of the estate where possible to reduce 


emissions by implementing the BCUHB estate strategy. 


Decarbonisation 


programme board 


 Sep-22 Mar-24 TBC TBC  


34. NWSSP and Welsh Government 


will develop an approach to land use to 


advise Health Boards and Trusts on 


land identification, collaboration with 


Local Authorities and the community, 


and the appraisal approach for 


renewable energy and greenhouse gas 


removal. 


BCUHB will adopt guidance for carbon accounting of existing 


land and identifying suitable land for renewable energy 


generation and greenhouse gas removals, once provided by 


NWSSP and Welsh Government. 


Decarbonisation 


programme board 


/ Head of 


property 


 N/A Mar-23 £0 £0  


Undertake a land evaluation to establish areas of the existing 


estate for potential renewable energy generation or greenhouse 


gas removal. Assessments will factor in location, existing land 


use, planned future land use, proximity to NHS sites and private 


wire opportunities. Current land has been considered for selling, 


including Bryn-y-Neuadd. 


Planning and 


policy team / 


Decarbonisation 


programme board  


 N/A Mar-23 TBC £0  


BCUHB will look to support localised initiatives to maintain green 


spaces on hospital sites for use by staff, the public and patients. 


Additionally, BCUHB will consider land use change and 


biodiversity enhancement projects as these will contribute to the 


overall carbon reduction targets. This will be done in line with 


their public sector biodiversity duty. This relates to compliance 


with both the Environment Act (Wales) 2016 and Well-being of 


Future Generations (Wales) Act 2015. 


Decarbonisation 


programme board 


 N/A Ongoing £0 £0  


35. NHS Wales will explore and 


progress large scale renewable 


generation with private wire 


connection to our sites. 


Programme of potential PV for the next 2-3 years in place, 


continuation of current programmes - started with community 


assets in East regions with plans to then move to west region if 


funding is secured. 


Head of property  N/A Apr-22 £0 TBC  


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


49 


Approach to Healthcare 


Smart Working 


NHS Wales Decarbonisation 


Strategic Delivery Plan Initiative  
BCUHB Actions  


Responsibility 


of 


Responsible 


Officer 


Developed / 


Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


36. Our approach to 21st-century 


healthcare will be central to the 


design of new hospital 


developments – redesigning the 


whole journey with care closer to 


home in a carbon-friendly primary 


care estate with a reduced need to 


visit hospitals. 


Agile working group currently being developed, assign responsibility of 


actions to them 


Agile working 


group 


 N/A N/A £0 £0  


37. Support the Welsh 


Government’s target for 30% of the 


Welsh workforce to work remotely, 


by continuing to facilitate flexible 


and smart working, developing the 


existing approach to remote 


working technology, and 


rationalising existing office space. 


Establish the proportion of the workforce that could feasibly work 


remotely (expected to predominantly be office-based staff). Actively 


encourage staff to work remotely where this can be feasibly achieved 


(it’s recognised that in some parts of rural Wales this will not be 


possible without infrastructure upgrades). 


Decarbonisation 


programme 


board 


 Sep-22 Mar-23 £0 £0  


Develop and implement a hot desk policy for acute and community 


sites. 


Decarbonisation 


programme 


board 


 May-22 Oct-22 £0 TBC  


Develop the opportunities to work with external partners to share and 


utilise office space that have already been identified and continue to 


monitor opportunities throughout the action plan period. 


Decarbonisation 


programme 


board 


 Mar-23 Mar-24 TBC TBC  


38. Continue to utilise technology 


to increase the efficiency of 


engagements between staff and 


the public where suitable. 


Build upon the progress made during the Covid-19 pandemic and 


maintain the use of digital consultations and patient monitoring where 


possible to reduce the requirement for avoidable staff and patient 


travel - where medically appropriate. 


Decarbonisation 


programme 


board 


 N/A Ongoing £0 £0  


Continue to use technology alongside the 111 service to support 


patient triage, information gathering, and to signpost patients to 


appropriate health services. BCUHB will also keep in contact with 


initiatives at an NHS Wales level and look to implement when available 


(e.g., NHS Wales app). 


Decarbonisation 


programme 


board 


 N/A Ongoing £0 £0  


Ensure healthcare professionals are provided with the appropriate 


technology to carry out these tasks effectively. 


Decarbonisation 


programme 


board 


 N/A Ongoing £0 TBC  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


50 


NHS Wales Decarbonisation 


Strategic Delivery Plan Initiative  
BCUHB Actions  


Responsibility 


of 


Responsible 


Officer 


Developed / 


Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


BCUHB will continue to take advice from NHS Wales to the best 


practice use of digital technology. It will also investigate the possibility 


of creating a specialist sub-group to create an internal best practice 


approach to the use of digital technology and digital consultation 


technology. 


Decarbonisation 


programme 


board 


 N/A Sep-22 £0 £0  


Continue the process of digitalisation of heath records, which has 


already begun, and will continue throughout the action plan period. 


Decarbonisation 


programme 


board 


 N/A Ongoing £0 £0  


 


Education 


NHS Wales Decarbonisation 


Strategic Delivery Plan Initiative  
BCUHB Actions  


Responsibility 


of 


Responsible 


Officer 


Developed / 


Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


39. Health education will be used to 


champion decarbonisation across 


our service – we will encourage 


sustainable healthcare practice, 


waste efficiency, and low carbon 


staff and patient behaviour. 


BCUHB will engage with Carbon Literacy Programme being 


developed by Public Heath Wales for selected staff with a view to 


expanding to wider staff in the future. BCUHB will continue to 


provide space internally for sector leads and sustainability working 


groups. BCUHB will engage with Doctors for Greener Health Care 


Networks and look to incorporate it at the Health Board level. The 


current pan-Wales e-training module on environmental 


management should be reviewed and updated. 


Decarbonisation 


programme 


board 


 May-22 Sep-22 TBC TBC  


Healthcare and Medicines 


NHS Wales Decarbonisation Strategic 


Delivery Plan Initiative  
BCUHB Actions  


Responsibility 


of 


Responsible 


Officer 


Developed / 


Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


40. Support the work of existing 


working groups such as the Welsh 


Environmental Anaesthetic Network to 


raise awareness of the carbon impact 


of medical gases and transition to a 


culture where gases with low global 


warming potentials are prioritised. 


BCUHB will ensure medical gas capture technology is integral to 


all new builds and major refurbishments, this should be 


promoted by the recently developed nitrous working group that 


has been set up across the three acute sites. 


Ongoing work to decarbonise medical gases in anaesthesia, 


maternity and emergency should be publicised more widely. For 


example, the results of project drawdown (switch from 


Decarbonisation 


programme 


board 


 N/A Ongoing £0 TBC  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


51 


 


 


Waste 


NHS Wales Decarbonisation 


Strategic Delivery Plan Initiative  
BCUHB Actions  Responsibility of 


Responsible 


Officer 


Developed 


/ Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


44. Support the development of 


guidance by 2022 for best practice 


reduction of pharmaceutical waste. 


BCUHB will work with NWSSP and ensure best practice 


initiatives for the reduction of pharmaceutical waste are 


implemented once finalised. BCUHB will also collaborate with 


other Health Boards and trusts to ensure standardised 


approach. 


NHS shared 


services/Procurement/ 


Decarbonisation 


programme board 


 N/A Mar-23 £0 £0  


NHS Wales Decarbonisation Strategic 


Delivery Plan Initiative  
BCUHB Actions  


Responsibility 


of 


Responsible 


Officer 


Developed / 


Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


anaesthetic gases, predominantly desflurane, to IV anaesthetics) 


should be championed across the HB. 


41. Explore methods of minimising 


gas wastage and technologies to 


capture expelled medical gases. 


This has been identified as a significant issue by the clinical 


team at BCUHB. Current activities by postgraduate medical 


students are looking in to this subject, but further efforts need to 


be made within the health board to explore opportunities and 


undertake trials. 


Decarbonisation 


programme 


board 


 N/A Ongoing £0 £0  


42. Take a patient-centric approach to 


optimise inhaler use, focusing on a 


reduction in the over-reliance of 


reliever inhalers where possible and 


emphasising the importance of 


inhaler-specific disposal and 


recycling. 


Introduce additional inhaler-specific disposal facilities in 


hospitals in partnership with industry stakeholders. 


Support the work of groups such as the Welsh Respiratory 


Health Implementation Group and the International 


Pharmaceutical Aerosol Consortium to emphasise the 


importance of responsible disposal with regard to carbon 


emissions. Actions should link to Green Primary Care agenda. 


Encourage pharmacists and prescribers to stress the importance 


of responsible disposal to their patients, and the fact that even 


low carbon inhalers need to be disposed of properly. Also make 


use of the existing RHIG digital app to effectively communicate 


with patients. 


Decarbonisation 


programme 


board 


 N/A N/A    


43. Transition the existing use and 


distribution of carbon-intensive and 


high global warming potential (GWP) 


inhalers to alternative lower GWP 


inhaler types where deemed suitable. 


BCUHB should encourage engagement with the Welsh Analytical 


Prescribing Support Unit (WAPSU), part of the All Wales 


Therapeutics and Toxicology Centre (AWTTC), utilising the 


recently developed dashboard to help inform conversations 


between practitioners and patients around the carbon footprint 


of inhalers and support, where appropriate, a switching to 


alternative inhalers. 


Decarbonisation 


programme 


board 


 N/A N/A    







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 2022-24                     Version Date : 29/06/2022 (final) 


52 


NHS Wales Decarbonisation 


Strategic Delivery Plan Initiative  
BCUHB Actions  Responsibility of 


Responsible 


Officer 


Developed 


/ Business 


Case by 


Implemented 


by 


Development 


Funding 


Investment 


Funding 
Comments 


Take learnings from ongoing and previous trials and roll them 


out across the HB. For example, the ongoing reusable linen 


trial. 


NHS shared 


services/Procurement/ 


Decarbonisation 


programme board 


 N/A Ongoing £0 £0  


45. Develop a 'plastics in healthcare' 


initiative to address waste in the 


delivery of health care – this will aim 


to tackle PPE, single use plastics, 


and packaging waste. 


BCUHB will work with NWSSP and ensure best practice 


initiatives for plastics in healthcare are implemented once 


finalised. 


NHS shared 


services/Procurement/ 


Decarbonisation 


programme 


board/clinical 


 N/A Mar-23 £0 TBC  


BCUHB will consider second life possibilities for non-medical 


equipment that is no longer required. Reuse elsewhere within 


the Health Board and donation will be prioritised over creation 


of waste. This will be incorporated into Health Board policy. 


NHS shared 


services/Procurement/ 


Decarbonisation 


programme 


board/clinical 


 N/A May-22 £0 TBC  


46. Engage with pharmacists and 


prescribers to build upon and support 


existing efforts to encourage 


responsible disposal of inhalers 


through discussions with patients, 


information leaflets, posters and 


media. 


Introduce additional inhaler-specific disposal facilities in 


hospitals in partnership with industry stakeholders. 


NHS shared 


services/Medicines 


management/ 


Decarbonisation 


programme board 


 N/A Mar-23 TBC TBC  


Support the work of groups such as the Welsh Respiratory 


Health Implementation Group and the International 


Pharmaceutical Aerosol Consortium to emphasise the 


importance of responsible disposal with regard to carbon 


emissions. 


NHS shared 


services/Medicines 


management/ 


Decarbonisation 


programme board 


 N/A Ongoing £0 £0  


Encourage pharmacists and prescribers to stress the 


importance of responsible disposal to their patients, and the 


fact that even low carbon inhalers need to be disposed of 


properly. Also make use of the existing RHIG digital app to 


effectively communicate with patients. 


NHS shared 


services/Medicines 


management/ 


Decarbonisation 


programme board 


 N/A Ongoing £0 £0  


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


53 


6. BCUHB Action Plan 2024-26 


This current Decarbonisation Action Plan sets out the key actions BCUHB will take in the next two years 


to reduce its carbon footprint and support the NHS Wales ambition of becoming net zero by 2030. It is 


also a requirement for all NHS Wales health boards to submit a Decarbonisation Action Plan every two 


years to the Welsh government. This is the first such action plan and sets out how BCUHB will address 


the initiatives from the NHS Wales DSDP between 2022 and 2024. However, it is also important for 


BCUHB to maintain a longer-term view to reducing greenhouse gas emissions. To meet the ambitious 


climate goals of the health board, and NHS Wales as a whole, it is important to consider short-term, 


medium term, and longer term actions. This requires strong carbon management and governance 


structures (see Section 4.1) and will be crucial to achieving the long term vision of the BCUHB.  


Having sight of the actions that BCUHB will need to take during the next Decarbonisation Action Plan 


timeframe (2024-2026) will help the health board to implement the current list of actions as well as help 


to inform the creation of the subsequent Decarbonisation Action Plan in march 2024.  


6.1. Carbon Management  


The actions for BCUHB to undertake between 2022 and 2024 in relation to Carbon Management (section 


4.1) are based around three key initiatives from the NHS Wales DSDP. The key actions for BCUHB to 


carry out during the next iteration of the Decarbonisation Action Plan will be based on the results of the 


action listed in this report.  The progress made during 2022-2024 will inform these longer term actions, 


therefore, there are no specific actions listed here for 2024-2026.   


6.2. Buildings 


6.2.1. Existing Buildings 


The following table details the key actions for BCUHB to undertake between 2024 and 2026 in respect to 


existing buildings.  


 


NHS Wales 


Decarbonisation Strategic 


Delivery Plan Initiative 


BCUHB Actions 
Implemented 


by 


5. Fully replace all 


existing lighting with LED 


lighting by 2025. 


Procure and implement LED upgrades across all 


buildings assumed to have a future beyond March 


2027 by 2025.  


Buildings with an uncertain future (after 2027) should 


be considered on a case by case basis as this should 


not be a barrier to decarbonisation where LED 


upgrades may still be appropriate. 


2025 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


54 


7. Progress low carbon 


heat generation for all 


non-acute sites larger 


than 1,000m2 by 2030. 


Implement changes to target a shift to full low 


carbon heating by 2030. Aim to have converted 50% 


of heat to low carbon heat by 2026. 


2026 


8. Determine the overall 


viable potential for onsite 


renewable energy 


generation at each NHS 


organisation by 2023. 


Install half of this 


potential by 2026, and the 


remainder by 2030. 


Following the feasibility study to establish the 


viability of renewable energy projects at each BCUHB 


site, conducted as part of this decarbonisation plan, 


at least 50% of these will be installed by 2026. 


Structural/infrastructure limitations at acute sites 


may impact future installations. Projects will 


therefore have to be viewed on a case-by-case basis. 


2026 


 


6.2.2. New Builds and Major Refurbishments  


 


The key actions for BCUHB to carry out during the next iteration of the Decarbonisation Action Plan in 


relation to new builds and major refurbishments will be based on the results of the action listed in this 


report.  The progress made during 2022-2024 will inform these longer term actions, therefore, there are 


no specific actions listed here for 2024-2026.   


6.3. Transport 


The following table outlines the transport related actions from the NHS Wales DSDP initiatives that 


BCUHB will need to undertake between 2024 and 2026. 


 


NHS Wales 


Decarbonisation Strategic 


Delivery Plan Initiative 


BCUHB Actions 
Implemented 


by 


20. All new medium and 


large freight vehicles 


procured across NHS 


Wales after April 2025 


will meet the future 


modern standard of ultra-


low emission vehicles in 


their class. 


Procure ultra-low emissions freight vehicles across 


BCUHB from 2025 – in line with NHS Wales 


commitments. 


2025 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


55 


6.4. Procurement 


Procurement for health boards is largely centralised through NWSSP across Wales, and actions for 


2024-2026 will largely depend on the results of the actions taken by BCUHB and NWSSP from this action 


plan. However, below are actions from the NHS Wales DSDP for BCUHB to consider between 2024 and 


2026.  


 


NHS Wales 


Decarbonisation Strategic 


Delivery Plan Initiative 


BCUHB Actions 
Implemented 


by 


28. 100% REGO-backed 


electricity will be 


procured by 2025, and 


100% offset gas by 2030. 


All REGO backed electricity is at national level. 


BCUHB will continue to work with appropriate teams 


to maintain 100% REGO backed electricity supply. 


2025 


6.5. Estate Planning 


The key actions for BCUHB to carry out during the next iteration of the Decarbonisation Action Plan in 


relation to estate planning will be based on the results of the action listed in this report.  The progress 


made during 2022-2024 will inform these longer term actions, therefore, there are no specific actions 


listed here for 2024-2026.   


6.6. Approach to Healthcare  


The following table outlines the transport related actions from the NHS Wales DSDP initiatives that 


BCUHB will need to undertake between 2024 and 2026. 


 


NHS Wales 


Decarbonisation Strategic 


Delivery Plan Initiative 


BCUHB Actions 
Implemented 


by 


43. Transition the existing 


use and distribution of 


carbon-intensive and high 


global warming potential 


(GWP) inhalers to 


alternative lower GWP 


inhaler types where 


deemed suitable. 


Target a shift to 80% of inhalers being low GWP 


alternatives, to put Wales in line with the current 


European leaders in the field, but only where clinically 


appropriate and where it is clear patients’ 


stabilisation will not be affected. 


Deliver through the Welsh Respiratory Health 


Implementation Group. 


2025 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


56 


7. Implementation Next Steps 


7.1. Management Approach 


Successful implementation of this Decarbonisation Action Plan will require a step-change in 


decarbonisation activity across BCUHB. 


In recognition of this, a ‘Decarbonisation Project Manager’ will be put in place to drive the 


implementation of the Decarbonisation Action Plan. The Decarbonisation Project Manager will sit 


outside of the estates department and become an active component of the newly developed 


decarbonisation programme board and engage across BCUHB; spanning estates and facilities, planning, 


transport, procurement, clinical, and wider stakeholder groups, to ensure that the actions within this 


Decarbonisation Action Plan are taken forward and implemented within the stated timeframe. The 


Decarbonisation Project Manager and wider management team within BCUHB will be responsible for 


implementation of this, and subsequent, Decarbonisation Action Plan(s). Availability of funding should 


ideally allow for the recruitment of more than one FTE to be part of the decarbonisation team; the weight 


of the task at hand will likely require numerous staff to support and implement this plan. 


Overseeing these activities will be the newly developed decarbonisation programme board, it has been 


established to lead on the development and implementation of decarbonisation and sustainability 


programmes which deliver the Health Boards five–year decarbonisation programme as required by 


Welsh Government. 


The Board will engage and coordinate a wider and inclusive organisational response to achieving Welsh 


Governments sustainability and decarbonisation targets by 2030. 


The remit of the board will cover the following points: 


• Work as a transformational board to progress opportunities for financial benefits to sustain the 


programme and deliver other returns through linking with other established programmes. 


• Receive regular assurance updates on the development and implementation of Health Board 


decarbonisation plans in support of the NHS Wales Decarbonisation Strategic Delivery Plan. 


• Ensure the views of all staff groups and key stakeholders are reflected and included in the 


decarbonisation plans.  


• Work with other public sector bodies/agencies across North Wales in developing regional plans 


to tackle climate change.  


• Ensure that the Health Board’s values/priorities, organisational and executive leadership, 


governance and links to strategic plans are in place.   


• Ensure that financial support and capacity is in place to run the programme.  


• Seek advice and support from other professional bodies as and when required.  


• An Independent Member from the Health Board will be appointed to support the 


Decarbonisation Programme Board. 


• It is important that the decarbonisation and sustainability programme is integral to the work 


already being progressed through the Health Board’s leading strategies namely, Stronger 


Together, Living Healthier-StayingWell and the annual IMTP 


The current structure of the decarbonisation programme board has been detailed below: 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


57 


 


 


Figure 11: Decarbonisation Programme Board governance structure 


  


Accountable to: 


Executive Director 
of Finance 


People, 
Partnerships & 


Population 
Committee 


Reporting to: 


Executive Team 


People, 
Partnerships & 


Population 
Committee 


Reporting from: 


Green Group - 
West 


Green Group - 
Central 


Green Group - East 


Admin: 


Finance Director 


Decarbonisation Programme Board 


Chair – Executive Director of Finance 


Independent Member (TBC) 


Deputy Chair – Snr Clinical/Nursing Lead 


Snr Area Lead 


Snr MH&LD 


Snr Finance Lead 


Snr WoD Lead 


Associate Director of Corporate H&S 


Clinical Lead – Pan BCUHB 


Nursing Lead – Pan BCUHB 


Pharmacy Lead – Pan BCUHB 


Procurement – Shared Services Lead 


Director of Estates & Facilities 


Ass. Director of Capital & Estate Development 


Chairs of Local Green Groups 


Communications Lead 


Staff Side Representatives 


Sustainable Transport & Travel Manager 


Decarbonisation Programme Manager 


Roles to be filled: 


Existing roles: 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


58 


7.2. Funding 


It is recognised that access to additional resource and finance is critical to ensure the success of this 


Decarbonisation Action Plan. However, much progress can be made by championing decarbonisation 


within the decision-making process, and by integrating this into behaviour across BCUHB. 


Health Boards cannot access conventional borrowing or private finance, including the Public Works 


Loan Board. Health Boards are highly reliant on Welsh Government to enable funding mechanisms. 


Additional funding sources:  


Potential Funding Notes 


Discretionary Capital 


Programme 


Subject to infrastructure investment funding business case process. Requiring a 


Business Justification Case (BJC), or Outline Business Case (OBC) to Welsh 


Government Health Capital Estates & Facilities. 


For 2021/22, the Health Board was allocated ~£12.95m. In 2022/23 however, the 


allocation is reduced to ~£10.97m. 


Wales Funding 


Programme – Invest to 


Save 


 


The Wales Funding Programme4 is supported by the Welsh Government Energy 


Service, with funding applications administered by Salix Finance. Funding is then 


provided direct from Welsh Government on a repayable basis, with criteria limits on 


payback and carbon cost effectiveness.  


The Health Board have actively utilised this funding for phases of the multi-site solar 


PV scheme. 


Estates Funding 


Advisory Board (EFAB) 


funding – 


decarbonisation, and 


infrastructure 


 


£4.96m of grant funding through EFAB was made available in 2021/22. This was 


administered through NWSSP, with separate budgetary lots for infrastructure and 


decarbonisation. The decarbonisation budget for 2021/22 totalled £1.43m. 


Unfortunately, no EFAB grant funding is currently available for 2022/23. 


Welsh Government 


Energy Service – 


Public Sector Fleet 


Grant 


 


The Welsh Government Energy Service administer funding for fleet vehicle 


replacements to EVs, and EV charging infrastructure. In 2021/22, a total of £1.5m was 


made available to the public sector, the availability of grant for 2022/23 is still to be 


defined. 


Welsh Government – 


Public Sector Low 


Carbon Heat Grant 


The Welsh Government Energy Service and Salix Finance has overseen a pilot ‘Public 


Sector Low Carbon Heat Grant’ in 2021/21, this totalled £2.4m in value and was 


largely accessed by Local Authorities.  


 


4 https://www.salixfinance.co.uk/loans/welsh-loans 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


59 


No grant funding is planned for 2022/23, however it is expected that a funding 


scheme will follow in 2023/24. In is expected that development grant funding will be 


available in 2022/23 to support project to an investment ready position. 


Betsi Cadwaladr UHB Estates Programme 


Within the BCUHB Estates Programme a number of opportunities have been identified for the period 


2022-2025 ranging from ‘in development’ stage through to ‘full business case’. 


The Health Board should utilise available capital and revenue budgets in a smart way, aligned with the 


climate emergency, in particular this will entail: 


• Embedding quantified carbon as be a key decision metric in estates planning – this will be 


managed through the business case process for revenue and capital spending (Initiative 33). 


• Proactive planning of maintenance issues (for instance boiler replacement) so that the low 


carbon options are understood and utilised (Initiative 7). 


• Revenue budget availability should be utilised where possible to support project development. 


• Progressing procurement initiatives to influence decarbonisation in the supply chain. 


One of the key routes for delivery for the built estate, energy efficiency, and renewable energy 


programmes will be through an energy performance contract, BCUHB are currently in the process of 


signing up for Re:fit Cymru. 


The current Estates Programme for 2022-25 include the following schemes: 


Business Case Status Cash Value 


(Current estimate) 


£ millions 


Source of Funding 


Royal Alexandra Hospital (North 


Denbighshire)  


Full Business Case - 


submitted to Welsh 


Government  


£67.3 plus 


inflation 


All Wales Capital 


Wrexham Maelor Continuity Phase 1 Combined Outline / Full 


Business Case Stage  


£43 All Wales Capital 


Adult and Older Person’s Mental 


Health Unit Glan Clwyd Hospital 


Outline Business Case 


stage  


£63.7 All Wales Capital 


Regional Treatment Centres 


(previously Diagnostic & Treatment 


Centres) 


Strategic Outline Case 


Stage 


£154 - 252 Partnership 


Scheme - Revenue 


Nuclear Medicine Reconfiguration 


(including PET) 


Strategic Outline Case 


submitted to Welsh 


Government 


£11 All Wales Capital 


Residential Accommodation (includes 


Revenue Implication)  


Strategic Outline Case 


Stage 


£55.8 Partnership 


Scheme - Revenue 


Bangor Health & Wellbeing Centre Scoping Document stage £32 -37 million All Wales Capital 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


60 


Conwy Integrated Services Facility Scoping Document stage £15 - 19 All Wales Capital 


NWCTC Radiotherapy Software, 


Hardware and Linear Accelerator 


(Linac) Replacement 


Business Justification 


Vase 


£4.4 - 4.7 All Wales Capital 


Wrexham Redevelopment Business 


Case 


Programme Business Case 


stage 


TBC £200+ All Wales Capital 


Ysbyty Gwynedd: Fire Safety and 


Infrastructure Compliance 


Programme Business Case 


Stage 


£216 All Wales Capital 


Neuro Rehabilitation Services: 


Llandudno General Hospital  


Scoping Document stage  £5 - 8 All Wales Capital 


Penygroes Health & Wellbeing Hub Scoping Document stage £6 - 8 Partnership 


Scheme - Revenue 


Penrhos Polish Nursing Home Scoping Document stage £8 Partnership 


Scheme - Revenue 


Hwb Cybi (Holyhead) Primary Care 


Health & Wellbeing Hub  


Scoping Document stage £15+  All Wales Capital 


School of Medicine and Health 


Sciences 


Scoping Document stage TBA All Wales Capital 


Hanmer Health & Well-being Centre Under Review TBA All Wales Capital 


Llay Health & Well-being Centre Under Review TBA All Wales Capital 


Cefn Mawr Health & Well-being Centre: 


Feasibility study for the development 


of a new build 


Under Review TBA All Wales Capital 


Denbigh Integrated Re-ablement Under Review TBA Partnership 


Scheme - Revenue 


Kinmel Bay Business Case  Under Review TBA All Wales Capital 


Maggie’s Centre Ysbyty Glan Clwyd. Exploratory Stage TBA Nil cost to Health 


Board 


Colwyn Bay Integrated Health & Social 


Care Facility 


 
2.2 Partnership 


Scheme - Revenue 


Brymbo Primary Care Centre Under Review TBA All Wales Capital 


Porthmadog Primary Care Centre Under Review TBA All Wales Capital 


 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


61 


 


Future Major Schemes:  


Through BCUHB’s capital programme there is a series of programmes and projects across both 


discretionary (£43m) and All Wales (£831m) funding to be implemented between 2022/23 and 2026/27. 


Many of the projects to be implemented could result in carbon savings or have an element of carbon 


reduction built in to it. Currently approx. £40m+ and £830m+ of projects have been identified for funding 


between 2022 and 2027. 


Furthermore within the newly developed 10 year capital programme there is potential for an additional 


£1,640m+ funding for currently unapproved estates schemes, many of which can result in carbon 


reductions. These include investments across: Statutory Compliance and Infrastructure, Recovery and 


Clinical Services, Regional and National, Integrated Primary, Community and Social Care, Programme for 


Government and Manifetso. 


Funding this Decarbonisation Action Plan: 


Funding this Decarbonisation Action Plan will require low carbon alignment in how we utilise existing 


funding for healthcare delivery, procurement, and capital projects. Based on specific additional 


decarbonisation actions and measures shown, the additional funding required is estimated as: 


 Development Funding Investment Funding 


Decarbonisation Action Plan 


period 2022-24 
Min. £500K Min. £10M 


In addition to the funding required from a developmental and investment perspective, there will be 


funding required for resource too. This should consider as a minimum the additional roles required for a 


decarbonisation manager and transport and travel manager. It is expected that further resource will be 


required beyond the two aforementioned roles for this plan to be executed fully, and ideally a whole 


decarbonisation team with dedicated roles should exist. The resource funding requirement for this 


should be defined by BCUHB. 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


62 


7.3. Implementation Capacity 


Implementing the Decarbonisation Action Plan will require additional internal resource and capacity, as 


well as expert contracted support. The capacity challenge can be simply split into two: 


Internal resource 


It is anticipated that additional resource will be required in the following areas: 


• Decarbonisation Project Manager to act as a central, fully resourced, focal point for activity 


within the decarbonisation programme board. 


• Estates support for project development and delivery – covering buildings. 


• Sustainable Transport and Travel Manager – to act as a central point across patient and visitor 


travel, business travel, operational and grey fleet. 


• Procurement team support, both to develop the supply chain engagement initiatives, and also 


support wider delivery. 


• Decarbonisation officers to support the decarbonisation project manager and help implement 


the action plan. 


Engagement across the health board will be required, and adjustments made to existing practice. This 


will require education and enabling of key staff groups, in particular for the approach to health care, 


waste, and employee commuting related initiatives. 


External Resource 


Utilising external resource will be required for both project development, and for ‘supply & install’ 


contractors for implementation. In particular: 


• Utilising heat and renewable power experts for understanding the opportunity on the estate and 


creating specific implementation plans. 


• Utilising planning, procurement, legal support in project development. 


• Design team experts (e.g. architects / M&E engineers) to follow low carbon and net zero aligned 


standards in the design of major capital schemes. 


• Collaboration with the NWSSP for procurement initiative implementation. 


• Collaboration with the Welsh Government Energy Service to support implementation. 


• Collaboration with the Regional Partnership Board and public sector partners for joint learnings. 


• Collaborate with stakeholder groups and wider industry to further develop low carbon health 


care practice. 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


63 


8. Key Next Steps 


Mobilisation activities 


• Incorporate the Decarbonisation Action Plan into the newly created Decarbonisation 
Programme Board. 


• Review resource requirements, in particular put in place a central Project Manager role as a 
focal point for activity. 


• Launch the Decarbonisation Action Plan and build responsibility for delivery across the 
organisation – assigning specific projects as required. 


• The Decarbonisation Action Plan should be a live working document – seek feedback through 
engagement, and update as actions projects. 


Key development actions 


• Refine the short-term energy efficiency measures for delivery – in particular those identified in 
survey work. 


• Undertake expert heat and renewable power studies – utilising existing relationships, the wider 
supply chain, and the Energy Service. 


• In collaboration with NWSSP,  engage further with the supply chain to gather sustainability 
credentials and available carbon data. Plan and target upcoming procurements for increased 
low carbon assessment (as appropriate). 


• Update policy and practice – in particular with regard to commissioning and procurement. 


• Engage across the organisation to build profile and support for activity – in particular waste and 
the approach to health care. 


Key projects to implement 


• Align fabric improvements and low carbon upgrades into delivery of the capital schemes. 


• Implement heat pumps at target sites, in particular in place of end of life boiler replacements. 


• Deliver EV charging and electric vehicles into the fleet. 


• Enforce new procurement criteria when choosing new suppliers. 


Making change happen  


• Creating sustained momentum with a strong governance structure and clear communication 
across the organisation. 


• Deliver success by accessing additional funding streams, and working with Welsh Government 
to support the following anticipated additional costs for implementing this action plan:  


 


 Development Funding Investment Funding 


Decarbonisation Action Plan 


period 2022-24 
Min. £500K Min. £10M 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


64 


9. Appendices 


 


Appendix 1: Acute site energy audits 


A key action for health boards and trusts from Initiative 4 from the NHS Wales DSDP is to ‘carry out 


specialist energy and carbon audits every two years to evaluate the opportunities for carbon reduction 


and water savings at each site to inform decarbonisation ‘Action Plans’ as appropriate’.  


As part of this current decarbonisation action plan, BCUHB commissioned the Carbon Trust to carry out 


energy audits of the three main acute hospital sites: 


• Ysbyty Gwynedd,  


• Glan Clwyd and  


• Wrexham Maelor Hospital 


These building audits were conducted in February 2022 and have contributed to the formation of key 


actions for BCUHB to undertake in the next two years (see Section 4). 


The built estate accounts for 27% of the total carbon footprint for the health board (see Figure 2). Given 


the significant contribution from the use of buildings to the overall emissions, it is a key area where 


initiatives and actions for decarbonisation can be targeted. Many of the buildings within the health 


board’s estate portfolio have been long term assets and were built when sustainability standards were 


much lower than for new buildings today. The result has been a number of aging assets that still use old, 


or original, mechanical and electrical equipment and have a relatively poor performing fabrics. The three 


acute hospital sites were chosen as they have the largest individual carbon footprints and represent a 


significant proportion of the health board’s emissions from buildings. As such, they represent the largest 


opportunity for significant emission reductions through targeted decarbonisation action.  


This appendix outlines the findings of the building energy audits of the three acute sites and presents 


key actions for the health board to reduce the carbon emissions associated with these sites.  


  


Wrexham Maelor 
Hospital 


Ysbyty Gwynedd 
Glan Clwyd 


Figure 12: Acute Hospital Sites 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


65 


Ysbyty Gwynedd – Key Actions 


Ysbyty Gwynedd was built in 1984 and has a capacity of 463 beds with a floor area of approximately 


60,000m2. The man hospital is generally heated with gas fired LTHW boilers and a combined heat and 


power unit. The Display Energy Certificate has a rating of ‘F’.  


Following the site audit at Ysbyty Gwynedd a number of potential decarbonisation actions were 


identified. These are presented in the table below:  


Table 7: Summary of key actions – Ysbyty Gwynedd 


 


Sector Action 1 Action 2 Action 3 Action 4 Action 5 


Estate Carry out 
feasibility study 
for current 3MVA 
electrical supply 
and proposed EV 
change point 
requirements e.g. 
22kW units 


Add sub-metering 
across the site to 
increase data 
resolution and 
improve data 
accuracy  


Review BMS system 
preferences and the 
possibly to reduce 
summer time CT 
flow temperature 


  


Building M&E Reduce steam 
load in catering by 
converting to 
electric kitchen 
units  


Current steam 
generators are 
oversized. 
Reduced steam 
load in catering 
could reduce need 
for large steam 
generators – 
replace with 
smaller electric 
steam units 


Refurbish AHU with 
inverters on the 
fans, replace direct 
drive motors with 
EC fans and 
incorporate heat 
recovery  


Review potential 
to decommission 
CHP plant early. 
Ensure it is not 
replaced in the 
event of failure 


Add TRVs to 
radiator units to 
allow 
temperature 
control by end 
users 


Buildings 
M&E 


Review 
distribution 
pipework 
insulation and 
upgrade / replace 
where necessary 


Replace all 
lighting to LED 
across the site 


Review heating 
zones in main 
hospital to increase 
resolution and 
temperature control 


Incorporate 
energy efficiency 
measures, where 
possible, in fire 
protection works  


Refurbish lifts in 
main hospital to 
use efficient 
modern motors 


Building 
Fabric 


Replace single 
glazed windows 
with double 
glazed or 
secondary glazed 
units 


Insulate 
aluminium 
spandrel panel on 
window units 


Assessment Unit 
and Renal have 
uninsulated pitch 
roofs – add loft 
insulation as 
required 


  


Transport Convert temporary 
charging units to 
fixed units 


Carry out 
feasibility study to 
assess 
installation of EV 
charge points for 
staff, patient and 
visitor parking 


Expand site EV fleet Make sure there 
is an up to date 
active travel map 
for the site that is 
clearly displayed 
on site 


 


Renewables Currently no solar 
PV on the site. 
Carry out a solar 
PV feasibility 
study. Funding 
available to work 
with WGES 


Flat roof over 
main entrance to 
have solar PV 
design as well as 
Flat roof in the 
centre of hospital 
has potential for 
solar PV 


Review 
accommodation 
units for solar PV 
arrays – consider 
wiring to hospital 
rather than flats 


NHS direct 
building has a 
possible roof for 
solar PV, 
however, it is 
curved so 
installer 
inspection 
required 


Assessment 
Unit Roof could 
accommodate 
a solar PV array 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


66 


Glan Clwyd – Key Actions 


Glan Clwyd was opened in 1980, and during the last 12 years has undergone a major refurbishment of 


around £180m. The extensive refurbishments have focused on asbestos removal but have also 


incorporated significant energy efficiency upgrades. The hospital has 466 beds with a floor area of 


approximately 85,000m2. 


Following the site audit at Glan Clwyd a number of potential decarbonisation actions were identified. 


These are presented in the table below:  


Table 8: Summary of Key Actions - Glan Clwyd 


 


  


Sector Action 1 Action 2 Action 3 Action 4 


Estate Ensure new MHU 


building meets net zero 


standards 


Potentially redesign 


DHW at new MHU to 


accommodate lower 


temperatures and use 


ASHP 


Develop action plan for 


the laundry building 


once the NWSSP take 


laundry services offsite 


Review DEC reports 


with assessor at next 


inspection to ensure 


accurate total floor 


area 


Buildings 


M&E 


Early retirement of CHP 


plant – due for 


decommission in 2023 


Boiler replacement with 


ASHP at mortuary 


Boiler replacement at 


Creche building with 


ASHP to take 


advantage of UFH 


Migrate steam 


generation over to 


electric once laundry 


services move offsite 


Buildings 


M&E 


Lighting upgrade to 


LEDs across the site 


Ensure estate & 


facilities staff are 


trained on new BMS 


system updates 


Add metal casings (or 


similar) to AHU 


ductwork on roofs to 


prevent seagull damage 


to the insulation. 


Upgrade remaining 


AHU motors to 


inverters / EC motors 


Building 


Fabric 


Realistic and cost-


effective fabric 


upgrades have been 


achieved through 


asbestos refurbishment 


Replace any 


outstanding single 


glazed windows with 


double glazed units 


  


Transport Upgrade temporary 


changers to fixed units 


Increase EV charging 


capacity for patient/ 


visitor travel 


Make sure there is an 


up to date active travel 


map for the site that is 


clearly displayed on site 


 


Renewables Ward 14 & 15 flat roof 


have potential to 


accommodate solar PV 


array 


HSDU roof cold 


accommodate a solar 


PV array 


Conduct feasibility 


study for a solar farm 


on the fields to the rear 


of the site 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


67 


Wrexham Maelor Hospital – Key Actions 


Wrexham Maelor Hospital is an expansive site within the town of Wrexham that is divided by both the 


main road (Watery Road) and the River Gwenfro. There are multiple buildings that sit within the 


approximately 50 acre site, comprising the 1930s EMS site, the Phase 1 and 2 hospital that was built in 


the 1980s and the original buildings to the north of the site that now house many of the site office, such 


as facilities. There is also the modern Metal Health Unit and other smaller standalone buildings on the 


site. The larger buildings on the site have DECs that range from C-F with the predominant heating across 


all buildings as natural gas.  


Following the site audit at Wrexham Maelor Hospital a number of potential decarbonisation actions 


were identified. These are presented in the table below:  


Table 9: Summary of Key Actions - Wrexham Maelor Hospital 


 


 


Sector Action 1 Action 2 Action 3 Action 4 


Estate Undertake electrical 


incoming capacity 


review with respect to 


increased load from EV 


charging and electric 


heat 


Review parking 


controls on the site 


with an aim to reduce 


non-hospital traffic 


Review the usage of 


temporary buildings that 


have been incorporated in 


main healthcare provision 


and assess if they are fit 


for purpose 


Upgrade street 


lighting to LEDs  


Buildings 


M&E 


Review CT distribution 


circuit leakage at EMS 


site to increase boiler 


efficiency and reduce 


energy consumption 


Incorporate heat 


recovery to AHUs 


Transition motors for 


AHU over to inverter 


driven or EC motors 


Ensure mech. Vent. 


Upgrades (6ACH) for 


minimum healthcare 


standards do not 


compromise energy 


efficiency 


Buildings 


M&E 


Upgrade lighting to 


LEDs across whole site 


(especially EMS, Phase 


1&2, MHU, ALAC) 


Carry out feasibility 


study to convert 


MHU, which has UFH, 


over to ASHPs 


  


Building 


Fabric 


Upgrade single glazing 


to double glazed units 


– Especially EMS 


Install loft insulation 


to EMS and estates 


buildings 


Upgrade or replace 


insulation levels and 


draughtproofing to 


temporary building 


structures that have been 


incorporated into 


healthcare services 


 


Transport Install the 20x EV 


charge points that have 


been secured.  


Install LED lighting to 


multi-storey car park 


at rear of site 


Review potential for more 


EV charge points to be 


installed and to increase 


size from 7kW 


(incorporate fast charge) 


Make sure there is an 


up to date active 


travel map for the site 


that is clearly 


displayed on site 


Renewables Antenatal has a flat 


roof suitable for solar 


PV, however, there are 


plans to build a second 


storey on top 


ALAC roof has 


potential for solar PV 


– meter/ wiring set 


up needs to be 


reviewed 


Children outpatients and 


Mental Health Units could 


accommodate solar PV 


arrays 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


68 


Appendix 2: Quantified decarbonisation actions 


Included in the scope of work for this decarbonisation action plan were high level energy audits of the 


three acute hospital sites (YG, YGC and WMH). Following the site visits a number of actions that BCUHB 


can take to reduce the associated carbon emissions of these sites were identified, see Appendix 2. 


Financial and carbon modelling has subsequently been carried out, where possible and appropriate, for 


selected actions at each of these acute hospital sites. Calculations have been based on the FY19/20 


consumption data but with the most recent energy unit prices to increase accuracy of the financial 


savings, as FY19/20 energy prices are now obsolete. The current volatility seen in energy prices in 2021 


and 2022 are not reflected in these figures.   


It is important to note that the figures presented here are based on high level energy audits for the 


three acute sites. The financial and carbon estimates outlined in this report are based on the stated 


assumptions and the data provided to the Carbon Trust as part of the agreed work. The figures 


outlined in this report are, therefore, representative only and any detailed analysis of cost, energy and 


emissions savings from the carbon reduction opportunities should be conducted by a suitably 


qualified professional following further detailed site specific assessments and calculations. 


 


2.1. Ysbyty Gwynedd 


2.1.1. LED Lighting Upgrades 


Following a visual site inspection and data provided form BCUHB, it has been estimated that, currently, 


20% of the light fittings at the site are using LED bulbs. The lighting upgrade calculations have been 


based on the replacement of T5 bulbs in 70% of fitting and T8 bulbs in 10% of fittings. It has been 


assumed that all lights are operational for 24 hours a day.  


Table 10: Financial Modelling of LED Lighting Upgrades 


 


 


 


 


 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 


Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


T5 Bulb 
Replacement 


201,400 167.4 724,400 201,400 1,160,900 5.8 1316 2,340 496 


T8 Bulb 
Replacement 


79,100 65.8 284,600 79,100 165,800 2.1 517 919 180 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


69 


2.1.2. Loft Insulation 


Both the Assessment and Renal Buildings at Ysbyty Gwynedd were identified as having pitched roofs 


with little to no loft insulation. Due to a lack of sub-metering, the energy demand for these buildings have 


been assumed based on their estimated floor area and the kWh/m2 rating from the DEC report. The 


levels of current insulation have been assumed to be 0-100mm with the upgraded insulation levels set to 


achieve a minimum u-value of 0.16W/m2K.  


Table 11: Financial Modelling for Loft Insulation 


2.1.3. Solar PV  


There is currently no Solar PV installed at Ysbyty Gwynedd. A preliminary site survey has shown 


potential for the flat roof of the main hospital (87kWp) and pitched roof of the assessment unit (20kWp) 


could be used to install solar PV. It has been assumed that all generation will be used on-site. A 


specialist site survey would be needed to confirm suitability and exact capacity available. The below 


numbers are therefore indicative only.  


Table 12: Financial Modelling of Solar PV Installations 


 


 


 


 


 


 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 


Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


Assessment 
Unit 


3,400 10.4 56,600 3,380 36,600 9.1 104 311 98 


Renal Unit 1,400 4.3 23,600 1,410 12,750 9.1 43 130 98 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 


Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


Hospital Flat 
Roof 


20,000 16.6 71,950 19,290 104,400 5.4 128 267 392 


Assessment 
Building 


4,790 4.0 17,240 4,630 24,000 5.2 31 64 376 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


70 


2.1.4. Pipe Insulation 


The initial site survey has uncovered that very little of the pipework for hot water and heating are 


insulated, both in plant rooms and throughout the site. It has been assumed that all pipework, valves and 


flanges will have a minimum of 22mm of lagging installed. The below numbers are therefore indicative 


only.  


Table 13: Financial Modelling of Pipework Insulation 


2.1.5. Elevator Upgrades 


The majority of lifts across the site are aging and nearing end of life, it is suggested that all motors 


driving the lifts are replaced with efficient, modern units. Approximate, indicative savings are detailed 


below: 


Table 14: Financial Modelling of lift upgrades 


2.1.6. Air Handling Units Upgrades 


During the initial site visit, it was noted that of the approximately 40 air handing units (AHUs) only 20% of 


these had inverters, and 15% had any form of heat recovery. Therefore, it is recommended that all air 


handling units undergo motor upgrades and have a form of heat recovery added to them. The estimated 


indicative costs for these upgrades have been noted below:  


Table 15: Financial Modelling of AHU upgrades 


 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 
Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


Pipe 
insulation 


11,102 77 370,071 11,102 83,919 7.6 618 1,388 60.5 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 
Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


Lift upgrades 13,029 13 62,943 13,029 60,000 4.6 80 130 461.5 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 


Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


AHU motor 
upgrades 


31,069 31 150,092 31,069 128,000 4.1 190 400 320 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


71 


2.2. Glan Clwyd 


2.2.1. LED Lighting Upgrades 


A high level visual inspection of the current lighting at Clan Clwyd was conducted during the site visit. 


This, along with information provided by BCUHB, has estimated that around 70% of the current light 


fittings are T5 bulbs, with a 10% assumption for T8 bulbs, and the remaining 20% being comprised of 


modern LEDs. The following calculation has estimated the costs and carbon saving of implementing a 


lighting replacement strategy to LEDs. It has been assumed that all lights are operational for 24 hours a 


day.  


Table 16: Financial Modelling of LED Lighting Upgrades 


 


2.2.2. Solar PV 


There is currently only isolated, small Solar PV arrays installed at Clan Clwyd. A preliminary site audit 


has shown potential for the pitched roof of the HSDU (96kWp) and flat roof of the emergency 


department (48kWp) could be used to install solar PV. It has been assumed that all generation will be 


used on-site. A specialist site survey would be needed to confirm suitability and exact capacity 


available. The below numbers are therefore indicative only.  


Table 17: Financial Modelling of Solar PV Installations 


 


 


 


  


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 


Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


T5 Bulb 
Replacement 


343,700 244 1,057,300 343,700 1,694,300 4.9 1920 3,420 496 


T8 Bulb 
Replacement 


135,000 96 415,360 135,000 242,000 1.8 750 1,340 180 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 


Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


HSDU 28,450 20 87,450 27,550 115,200 4.2 156 324 356 


Emergency 
Department 


13,100 9 40,220 12,900 57,600 4.5 72 149 387 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


72 


2.3. Wrexham Maelor Hospital 


2.3.1. LED Lighting Upgrades 


A visual lighting inspection was carried out during the site visit of selected buildings at the Wrexham 


Maelor Hospital site. Combined with information provided by BCUHB calculations have been produced 


on upgrading the current lighting to LEDs. It has been assumed that the EMS building currently has 90% 


of light fittings as T5 bulbs with the remaining 10% as LEDs. All other buildings analysed have been 


assumed to have 85% of existing fittings as T5 bulbs, except the ALAC building which assumes 85% T8 


bulbs. 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 
Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


WMH - EMS 42,100 38 163,900 42,100 262,700 6.2 298 530 496 


WMH - Phase 1 84,400 76 328,350 84,400 526,200 6.2 596 1,060 496 


WMH - Phase 2 62,800 56 244,200 62,800 391,400 6.2 444 790 496 


WMH - Ty Deerbyn 8,100 7 31,500 8,100 78,500 9.7 57 102 772 


WMH - ALAC 8,300 7 32,200 8,300 37,500 4.5 59 104 361 


WMH - MHU 30,800 28 119,800 30,800 192,000 6.2 218 387 496 


Table 18: Financial Modelling of LED Lighting Upgrades 


 


2.3.2. Loft Insulation 


The site survey revealed that a number of buildings on the EMS part of the site that have little to no loft 


insulation within the pitched roof attic voids, contributing to large heat losses and increases in energy 


consumption. It is therefore, recommended that the loft insulation levels are improved to achieve a u-


value of 0.16 W/m2K. Due to a lack o sub-metering, the current gas consumption has been assumed 


based on the estimated ceiling areas for building needing insulation and the energy consumption figured 


from the most recent DECs.  


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 


Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


EMS Buildings 4,600 17 90,200 4,600 59,400 12.9 165 496 120 


Table 19: Financial Modelling of Loft Insulation Upgrades 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


73 


2.3.3. Solar PV 


The site audit of Wrexham Maelor hospital highlighted a number of buildings that could accommodate 


solar PV arrays. There is not currently any solar PV installed on the site so it could be an action that 


BCUHB implements within the current action plan period to help reduce electricity consumption at the 


site. The high level buildings audit has found that the ALAC (90kWp), Childrens Out building (25kWp), 


and Mental Health Unit buildings (36kWp & 18kWp) all have available roof space for solar PV 


installations. The calculations have assumed that all generation will be used on-site. A specialist site 


survey would be needed to confirm suitability and exact capacity available. The below numbers are 


therefore indicative only. 


Table 20: Financial Modelling of Solar PV Installations 


2.4. Zero Carbon Heating 


2.4.1. Non-Acute Sites 


It is recommended that 5 non-acute sites are to have their heating upgraded from gas-fired boilers to 


electric air source heat pumps as a trial ahead of future rollout to further sites as would be outlined in 


future action plans. 


The sites have been selected based on their current energy intensity metrics. Currently air source heat 


pumps are best suited to low flow temperatures, ie. where there is low demand or significant levels of 


insulation. In order to determine the non acute sites with the highest levels of heating efficiency, the gas 


consumption per metre squared of floor area was used. From this analysis the following sites have been 


recommended: 


• Abergele Hospital 


• Chirk Community Hospital 


• Dolgellau & Barmouth District Hospital 


• Tywyn & District War Memorial Hospital 


• Cefni Hospital 


The following estimated costs, energy savings and carbon savings are expected for each site: 


 Est. Annual Energy Savings 


Total 


Savings 


(£) 


Cost (£) 


Simple 


Payback 


Carbon Impact (tCO₂e) 


Opportunity £ 
tCO₂e 
(2020) 


kWh 
10 Year 
Carbon 
Saving 


Lifetime 
Savings 


£ / 
Lifetime 


ALAC 20,770 19 80,820 20,000 108,000 5.4 144 300 360 


Children 
Outpatients 


5,770 5 22,450 5,560 30,000 5.4 40 83 360 


MHU 1 8,000 7 31,030 7,700 43,200 5.6 55 115 380 


MHU 2 3,700 3 14,360 3,500 21,600 6.1 26 53 400 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


74 


Site Heat Pump 


Sizing (kWth) 


Energy Saving 


(kWh) 


Carbon 


Saving 


(tCO2e) 


Energy Cost 


Saving (£) 


System Cost 


(£) 


Abergele 


Hospital 


1,000 4,270,213 1,200 -£95,620  £563,125 


Chirk 


Community 


Hospital 


250 643,493 181 -£14,409  £225,781 


Dolgellau & 


Barmouth 


District 


Hospital 


200 710,325 200 -£15,906  £191,250 


Tywyn & 


District War 


Memorial 


Hospital 


200 943,701 265 -£21,132  £191,250 


Cefni Hospital 300 1,270,248 357 -£28,444  £255,000 


Table 21: Heat pump figures for non-acute sites 


2.4.2. Heating Surveys 


Within the actions it has been determined that specialist low carbon heat evolution plans should be 


developed at all three acute hospital sites to set out a transition plan away from fossil fuelled heat 


toward low carbon heat. This will include heat generation, heat distribution, heat emitters, and building 


fabric upgrades. The evolution plans should consider technologies such as heat pumps, biomass, chiller 


heat recovery, wider heat networks (where realistic) and other innovative heat solutions such as sewage 


heat recovery and emerging heat pump technology. Furthermore, low carbon heat feasibility studies at 


non-acute sites larger than 1000m2 should be undertaken. 


It is anticipated that consultancy costs for a detailed heat study of acute hospital would cost approx. 


£50,000 and £10,000 for a large non-acute site. The following costs for each site have been identified: 


Site GIA (m2) Cost for heat study (£) 


Ysbyty Glan Clwyd 83,631.0 £50,000 


Abergele Hospital 11,221.0 £10,000 


Ysbyty Maelor Hospital 88,050.0 £50,000 


Chirk Community Hospital 2,316.0 £10,000 


Colwyn Bay Community Hospital 4,654.0 £10,000 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


75 


Denbigh Community Hospital 3,618.0 £10,000 


Holywell Community Hospital 4,272.0 £10,000 


Mold Community Hospital 3,243.0 £10,000 


Ruthin Community Hospital 2,478.0 £10,000 


Ysbyty Gwynedd 64,695.0 £50,000 


Llandudno General Hospital 13,307.0 £10,000 


Bryn Beryl Hospital 1,957.0 £10,000 


Dolgellau & Barmouth District Hospital 2,234.0 £10,000 


Tywyn & District War Memorial Hospital 2,012.0 £10,000 


Ysbyty Alltwen 6,752.0 £10,000 


Deeside Community Hospital 4,668.0 £10,000 


Ysbyty Penrhos Stanley 4,286.0 £10,000 


Cefni Hospital 2,926.0 £10,000 


Eryri Hospital 5,093.0 £10,000 


Bryn-Y-Neuadd Hospital 25,403.0 £10,000 


Bryn Hesketh 1,236.0 £10,000 


Total 338,052.0 £330,000 


Table 22: Heat study estimated costs 


2.4.3. Heating Controls 


Through the initial site visits of all three acute sites conducted by the Carbon Trust, it was noted that 


heating zones across all hospitals are currently very large with poor resolution. Most areas don’t have 


TRVs and therefore end user control is severely limited. The following savings have been estimated 


based on the rollout of TRVs to all three acute sites: 


Energy Saving (kWh) Carbon Saving (tCO2e) Energy Cost Saving (£) Capital Cost (£) 


4,911,864 1,025 £147,356 £1,040,054 


Table 23: Estimated annual savings of TRV rollout across acute sites 


 


 


 


 


 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


76 


2.5. Transport 


Two projects within the list of transport focussed actions have been deemed to be quantifiable. Pilot 


schemes for EV rollout have commenced already within estates and facilities, and telematics have been 


installed in all vehicles already. The details of the identified, quantifiable projects are given below: 


Project Energy Saving 


(unit) 


Carbon Saving 


(tCO2e) 


Energy Cost 


Saving (£) 


System Cost (£) 


Fleet EVs 248,906 litres 


-406,922 kWh 


741 £82,565 £932,722 


EV charging *Electricity consumed at EV charging ports by BCUHB owned fleet will be 


accounted for in the above line, electricity consumed by others at the 


charging bays are out of BCUHB’s emissions boundary 


£111,400 


Table 24: Transport actions 


2.5.1. Initial Phase of EV Rollout 


It is assumed that any fleet vehicle will likely renew its lease every four years, this translates to half the 


fleet being replaced by electric vehicles in the period 2022-24. Here all diesel/petrol vehicles will be 


switched to battery electric. 


2.5.2. EV charging 


The potential for 20 EV charging bays have been identified, currently installed are temporary chargers, 


these should be upgraded and made permanent. Details are given below: 


No. EV Chargers No. Charging Bays Total cost of works (£) 


20 10  £ 111,400.00  


Table 25: EV charging details 


 


 


 


 


 


 


 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


77 


2.6. Procurement 


Two actions identified within the procurement section have been deemed quantifiable, together it is 


expected they could achieve a combined annual carbon saving of approx. 14,366 tCO2e 


1) An initial reduction in emissions of 10% across the top 100 suppliers through engagement 


activities. These could be activities such as focussed workshops, encouraging suppliers to 


reduce emissions, or selecting less carbon intensive products. This is expected to result in an 


estimated carbon saving of 8,163 tCO2e pa. It is anticipated that any engagement programme 


would cost approx. £50,000 pa. 


2) Through the adoption of WG procurement policy, all suppliers will have had to set a net zero 


carbon reduction target. If all suppliers were to meet a net zero 2050 target, set in 2022, then 


supply chain emissions would reduce at an annual rate of 3.6% - resulting in annual carbon 


savings of 6,204 tCO2e. 


2.7. Carbon Management 


 


Action Site Annual Energy 


Saving (kWh) 


Annual Energy 


Cost Saving (£) 


Annual Carbon 


Saving (tCO2e) 


Best practice 


energy 


management 


Acute sites 5,303,738 £476,874 1,102 


Behaviour change Pan BCUHB 764,277 £64,283 159 


Carbon literacy 


training 


Pan BCUHB 164,109 £13,194 37 


Table 26: Annual savings from carbon management related actions 


Two within the carbon management focus area have been quantified: 


1) Best practice energy management – Energy management procedures across all four acute 


sites should be reviewed and updated to be in line with best practice. 


2) Behaviour change – A pan wide behaviour engagement programme should be carried out, this 


could have particular focus areas for example: switching lights off, turning off equipment, active 


travel commuting, reduced printing. 


3) Carbon literacy training – There is currently an environmental management training course 


available to all NHS Wales staff as part of the e-learning programme. However, it is suggested 


that a more focussed carbon literacy training is introduced, that will allow staff to fully 


understand the carbon impacts of their actions at work. This is expected to allow staff to then 


understand how they can better reduce their personal work carbon footprint. 


 







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


78 


2.8. Assumptions 


Certain assumptions have been made during the financial modelling of the carbon reduction 


opportunities identified during the site visits, these are outlined below: 


• Electricity price of 0.207 p£/kWh 


• Gas Price of 0.024 £/kWh 


• Diesel price of 131.6 p/litre 


• 4% inflation rate for energy prices 


• Discount rate of 3.5% 


• Light fittings are assumed to be <2ft (this provides the most conservative cost replacement)  


• Measures listed do not account for infrastructure works that may be necessary to ensure 


optimum operation of proposed measures (e.g., wiring upgrades / heat zoning upgrades) 


• Energy use has been taken from FY19/20 data for each site 


• LED lifespans assumed to be industry average of 20yrs, this may be less with high usage 


• BMS lifespan assumed to be 10years, this may be higher with high quality installations 


• ASHPs have a coefficient of performance (COP) of 2.7 


• Boilers are assumed to have an efficiency of 80% 


Calculations have been based on site visits and data provided from BCUHB, all figures are indicative 


only and suitably qualified professionals should be consulted to undertake detailed studies prior to any 


implementation 


 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


79 


Appendix 3: Organisational Structure 


Role Name 


Sustainable Transport & Travel Manager TBC 


Decarbonisation Programme Manager TBC 


 


It is important that the current and future pressures on staff in carrying out their existing job roles are 


not ignored. The key roles outlined above will need to be performed alongside existing job requirements. 


Staff cannot be expected to carry out the above roles without allocated time to dedicate to this 


workstream. It will, therefore, be crucial that the Decarbonisation Programme Board and the senior 


leadership work collaboratively with greener groups and staff to enable them and provide them with 


time and resource within their own job roles to carry out these additional and important tasks. A 


decarbonisation programme manager and additional staff should be hired in line with the available 


funding. 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


80 


Appendix 4: Acknowledgements 


Acknowledgments 


The Carbon Trust would like to thank everyone that has contributed their time and expertise during the 


preparation and completion of this report. Special thanks goes to: 


 


  







BETSI CADWALADR UHB DECARBONISATION ACTION PLAN 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


 


carbontrust.com 


+44 (0) 20 7170 7000 


Whilst reasonable steps have been taken to ensure that the information contained within this publication 


is correct, the authors, the Carbon Trust, its agents, contractors and sub-contractors give no warranty 


and make no representation as to its accuracy and accept no liability for any errors or omissions. Any 


trademarks, service marks or logos used in this publication, and copyright in it, are the property of the 


Carbon Trust. Nothing in this publication shall be construed as granting any licence or right to use or 


reproduce any of the trademarks, service marks, logos, copyright or any proprietary information in any 


way without the Carbon Trust’s prior written permission. The Carbon Trust enforces infringements of its 


intellectual property rights to the full extent permitted by law.  


The Carbon Trust is a company limited by guarantee and registered in England and Wales under 


Company number 4190230 with its Registered Office at: 4th Floor, Dorset House, 27-45 Stamford Street, 


London SE1 9NT. 


© The Carbon Trust 2022. All rights reserved. 


Published in the UK: 2022  






