## Sheet2
Beechley Medical Centre
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Spirometry | 2 | Microlab SN 54588; Vitalograph Model 6800 | Beechley Medical Centre | First serviced 11/2020 | Bacterial Blue Filter | Next due to be checked in March
Calibration Syringe | 1 | Vitalograph calibration syringe model 2040; cat no 36020 3 litres | Beechley Medical Centre | Unknown | Unknown
Hillcrest Medical Centre, Borras Park Surgery, Forge Road Surgery
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Spirometry | 1 | Micro Lab Care Fusion 085-69082 | Forge Road | Uneble to locate records
Vitalograph | 1 | Vitalograph 3 litre syringe – Model 2040 Cat No 36028 | Forge Road
Nebuliser | 3 | Medix Nebuliser compressors | Forge Road
Pulse Oximeter | 1 | Choice Mmed Pulse Oximeter SW 2131 00200615 | Forge Road
Pulse Oximeter | 1 | Merlin Medical Pulse Oximeter 0333005 | Forge Road
Nebuliser | 2 | Nebuliser Medix AC2000 Hi-flo SN 11830 HF561895 | Borras Park Surgery
Spirometry | 2 | Vitalograph S/N- PN22573 & PV11519 | Hillcrest
Calibrator | 1 | SN 15590 | Hillcrest
Pen-Y-Maes Health Centre
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Spirometry | 1 | Vitalograph | Pen-Y-Maes Health Centre | Tested annually Next due Sept 2024 | Yes
Nebulizers | 4 | Medic AC2000 x 2 Nebulair PortaNeb | Pen-Y-Maes Health Centre | Tested annually next due Nov 2024 | Unknown
Oxygen | 2 | BOC Oxygen Cylinders | Pen-Y-Maes Health Centre | Expire date 31.05.2024 | Yes
The Laurels
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Spirometry | 1 | Vitalograph Pneumotrac hardware and software | The Laurels
Panton Surgery
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Spirometry | 1 | Vitalograph | Panton Surgery | 2020 | Anti-bacterial filter mouthpieces
FeNo Machine | 1 | Bedfont | Panton Surgery | 2018 | Nobreath mouth pieces
St Mark's Dee View
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Unable to locate records