## Sheet1
Canolfan Goffa Ffestiniog Respiratory Diagnostic Equipment
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
FeNo | 1 | FENO No Breath, Bedfont Scientific Ltd | Canolfan Goffa Ffestiniog | Unknown but year is 2023 | Bedfont No Breath Mouthpiece
Spirometry | 1 | Vitalograph Pneumotrac Mode 6800 | Canolfan Goffa Ffestiniog | Unknown | Vitalograph
Hwb Iechyd Eifionydd Respiratory Diagnostic Equipment
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Spirometry | Currently not in use - awaiting configuration with computers. | Care Fusion - Spirometry | Hwb Iechyd Eifionydd | Unknown | Unknown
Hi flow nebuliser | Emergency use only | Medix - AC2000 | Hwb Iechyd Eifionydd
Nebuliser | Emergency use only | Norditalia Arianne Power | Hwb Iechyd Eifionydd
Small nebuliser | Emergency use only | Norditalia Arianne Power | Hwb Iechyd Eifionydd
Suction | Emergency use only | Laerdal - Compact Suction | Hwb Iechyd Eifionydd
Tywyn Health Centre Respiratory Diagnostic Equipment
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Spirometry | 1 | Vitalograph | Tywyn Health Centre | 2023-02-01 | Vitalograph - Code:2820 - BV Filter
Peak Flow Meters | 5 | Clement Clarke Mini Wright Peak Flow Meters | Tywyn Health Centre | N/A | N/A | Not used for diagnostic purposes
Hwb Iechyd Cybi Respiratory Diagnostic Equipment
Equipment | Number of current devices in use | Manufacturer and type of Device | Department used in | Date of Installation | Disposable bacterial/viral filter used for lung function testing | Comments
Spirometry | 2 | Vitalograph Spriometer | Hwb Iechyd Cybi | Unknown | Vitalograph