## Sheet1
1. The total number of flooding incidents triggering a risk assessment. This is the number of times severe weather has flooded external roads or where water has breached the exterior of the building e.g. water ingress through roofs or doors.
Due to the way this information is recorded, we are unable to provide figures of risk assessments as this detail is not included in the report, we have however provided all incidents as below.
Count of Incident date (2018 to 2022 financial years) | Column Labels
| 2018 |  | 2020 | 2021 | Grand Total
| Qtr2 | Qtr4 | Qtr1 | Qtr3
Row Labels
Loss of Facility due to Flood/Water Leak | 1 | 1 | 1 | 2 | 5
Grand Total | 1 | 1 | 1 | 2 | 5
Count of Incident date (2022 to 2023 financial years) | Column Labels
| Jan | Jan Total | Mar | Mar Total | Jun | Jun Total | Aug | Aug Total | Sep | Sep Total | Oct | Oct Total | Nov | Nov Total | Grand Total
| 2023 |  | 2023 |  | 2022 |  | 2022 |  | 2022 |  | 2022 |  | 2022
Row Labels |  |  |  |  | Qtr2 |  | Qtr3 |  | Qtr3 |  | Qtr4 |  | Qtr4
Flood / leaks | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 6 | 6 | 15
Grand Total | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 6 | 6 | 15
2. Overheating incidents where the daily maximum temperature exceeded 26˚C triggering a risk assessment.
Please include:
* Each occupied ward or clinical area having a daily maximum of over 26˚C as one incident. E.g. If two wards exceeded the daily maximum temperature for two days and one clinical area exceeded the threshold for one day then the number of occasions to be reported is five.
Exclude:
* Incidents in areas defined as non-clinical space (e.g. medicine cabinets in central storage areas away from wards)
Due to the way this information is recorded, we are unable to provide figures of risk assessments as this detail is not included in the report, we have however provided all incidents as below.
Count of Incident date (2018 to 2022 financial years) | Column Labels
| 2018 |  |  |  | 2019 |  | 2020 |  | 2021 |  |  | Grand Total
| Qtr2 |  | Qtr3 |  | Qtr2 |  | Qtr2 | Qtr4 | Qtr1 | Qtr3 | Qtr4
Row Labels | Apr | Jun | Jul | Aug | May | Jun | Jun |  |  | Jul
Acute Medical Unit, YGC (secondary care) | [8 empty] | 1 | 1 |  | 2
Beechley Medical Centre, Wrexham (HB) | [9 empty] | 1 |  | 1
Emergency Department (secondary care) | [7 empty] | 1 |  |  |  | 2 | bar: Jun
Estates Department, YGC (corporate) | [11 empty] | 1 | bar: Aug
Fynnon Ward A (Area) | [9 empty] | 1 |  | 1
Health & Wellbeing Centre - Dental Surgery | [7 empty] | 1 |  |  |  | 1
Mason Ward, WM (secondary care) | [9 empty] | 1 |  | 1
Pwyll Ward, Ty Llywelyn | [10 empty] | 1 | 1
Radiology (secondary care) | [11 empty] | 1 | bar: Jun
Surgical Assessment Unit - YGC (secondary care) | Apr: 1; Jun: 1; Jul: 2 |  |  |  |  | 4
Surgical Emergency Department (temporary) | [11 empty] | 1 | bar: Jun
Ultrasound (secondary care) | [11 empty] | 1 | bar: Aug
Ward 19a, YGC (secondary care) | Jul: 1; May: 1; Jun: 2 |  |  |  |  | 4
Grand Total | 1 | 1 | 3 | 2 | 1 | 3 | 2 | 2 | 1 | 4 | 1 | 21
Count of Incident date (2022 to 2023 financial year) | Apr: Column Labels
| Jun | Jul | Aug | Oct | Grand Total
Row Labels
BCUHB / (OLD) BCUHB Central / Glan Clwyd Hospital / Ablett Unit / Tegid Ward | bar: Jul; May
BCUHB / (OLD) BCUHB Central / Glan Clwyd Hospital / Acute Medical Unit | bar: Jul; May
BCUHB / (OLD) BCUHB Central / Glan Clwyd Hospital / Obstetric Theatre | bar: Aug to May
BCUHB / (OLD) BCUHB Central / Glan Clwyd Hospital / Ward 14 | bar: Aug to May
BCUHB / (old) BCUHB East / HMP Berwyn / Health & Wellbeing Centre - Consultation Room | bar: Jun; May
BCUHB / Community Hospitals / Llandudno General Hospital / Outpatients | bar: Apr; May
Grand Total | 1 | 1 | 2 | 2 | 6