[image: image1.jpg]Bwrdd lechyd Prifysgol
Betsi Cadwaladr
University Health Board





 
	Our ref: 1924582
13 May 2024
 
‎ 

 
	 


Freedom of Information Act 2000
Your request and our response:
 
Please provide the following information for Betsi Cadwaladr University Health Board (BCUHB).
Please note, we are only able to give approximate figures as each month the data received is not complete, this could be due to “no access to a building” or the meter has stopped/battery gone flat (if it’s a digital device), staff shortages – unable to complete task/other priority operational breakdowns.
1. The number of electric, gas, fuel & water meters the organisation has (billing meters and sub-meters).

BCUHB has approximately 367 billed meters. However, this can change with new supplies being gained/properties being sold and lost. Sub meters are not all read/recorded. 

2. The number of those meters that are manually read & recorded.

Not all meters are read, only those where information is required to be gathered. 
Approximately 95% of the billed meters are recorded each month (not all meters are billed as they are “sub or secondary meters” and therefore the data is not necessary required to be recorded at this current time.
3. The number of those meters that are AMR (Automated Meter Reading) meters.

AMR is a term used with gas meters. Approximately 100 meters have AMR fitted. 

We do not have a current number of electric meter (remote metering) at present; water meters do not have in house remote recording (however, there are 5 billed water meters we have a license (via Welsh Water agreement) to monitor remotely. 

4. Across how many sites the meters distributed.

All BCUHB properties/buildings (some sites have multiple meters on large sites) in excess of approximately 125 locations. 
  
  

